| UNITED NATIONS |  | EP |
| --- | --- | --- |
|  | United Nations Environment Programme | Distr. GENERAL UNEP/OzL.Pro/ExCom/77/57 1 November 2016 ORIGINAL: ENGLISH |

EXECUTIVE COMMITTEE OF
  THE MULTILATERAL FUND FOR THE
  IMPLEMENTATION OF THE MONTREAL PROTOCOL
Seventy-seventh Meeting

Montreal, 28 November – 2 December 2016

PROJECT PROPOSAL:  PAPUA NEW GUINEA

This document consists of the comments and recommendation of the Secretariat on the following project proposal:

Phase-out

| • HCFC phase-out management plan (third tranche) | Germany |
| --- | --- |

PROJECT EVALUATION SHEET – MULTI-YEAR PROJECTS

Papua New Guinea

| (I) PROJECT TITLE | AGENCY | MEETING APPROVED | CONTROL MEASURE |
| --- | --- | --- | --- |
| HCFC phase out plan (Stage I) | Germany (lead) | 63rd | Total by 2025 |

| (II) LATEST ARTICLE 7 DATA (Annex C Group l) | Year: 2015 | 2.32 (ODP tonnes) |
| --- | --- | --- |

| (III) LATEST COUNTRY PROGRAMME SECTORAL DATA (ODP tonnes) |  |  |  |  |  |  |  | Year: 2015 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Chemical | Aerosol | Foam | Fire fighting | Refrigeration |  | Solvent | Process agent | Lab use | Total sector consumption |
|  |  |  |  | Manufacturing | Servicing |  |  |  |  |
| HCFC-123 |  |  |  | 0.0 | 0.0 |  |  |  | 0.0 |
| HCFC-124 |  |  |  | 0.0 | 0.0 |  |  |  | 0.0 |
| HCFC-141b |  |  |  | 0.0 | 0.0 |  |  |  | 0.0 |
| HCFC-142b |  |  |  | 0.0 | 0.0 |  |  |  | 0.0 |
| HCFC-22 |  |  |  | 0.0 | 2.3 |  |  |  | 2.32 |

| (IV) CONSUMPTION DATA (ODP tonnes) |  |  |  |
| --- | --- | --- | --- |
| 2009 - 2010 baseline: | 3.3 | Starting point for sustained aggregate reductions: | 3.4 |
| CONSUMPTION ELIGIBLE FOR FUNDING (ODP tonnes) |  |  |  |
| Already approved: | 3.4 | Remaining: | 0 |

| (V) BUSINESS PLAN |  | 2016 | 2017 | 2018 | 2019 | 2020 | Total |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Germany | ODS phase-out (ODP tonnes) | 0.8 | 0.0 | 0.0 | 0.0 | 0.4 | 1.2 |
|  | Funding (US $) | 336,518 | 0 | 0 | 0 | 149,812 | 486,330 |

| (VI) PROJECT DATA |  |  | 2011 | 2013 | 2014 | 2015 | 2016 | 2017-2019 | 2020 | 2021 - 2024 | 2025 | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Montreal Protocol consumption limits |  |  | n/a | 3.4 | 3.4 | 3.1 | 3.1 | 3.1 | 2.2 | 2.2 | 1.2 | n/a |
| Maximum allowable consumption (ODP tonnes) |  |  | n/a | 3.2 | 3.1 | 2.9 | 2.6 | 2.3 | 1.4 | 0.9 | 0.0 | n/a |
| Agreed funding (US$) | Germany | Project costs | 350,000 | 340,000 | 0 | 0 | 301,000 |  | 134,000 | 0.0 | 125,000 | 1,250,000 |
|  |  | Support costs | 41,300 | 40,120 | 0 | 0 | 35,518 |  | 15,812 | 0.0 | 14,750 | 147,500 |
| Funds approved by ExCom (US$) |  | Project costs | 350,000 | 340,000 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 690,000 |
|  |  | Support costs | 41,300 | 40,120 | 0 | 0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 81,420 |
| Total funds requested for approval at this meeting (US$) |  | Project costs | 0 | 0 | 0 | 0 | 301,000 | 0 | 0 | 0 | 0 | 301,000 |
|  |  | Support costs | 0 | 0 | 0 | 0 | 35,518 | 0 | 0 | 0 | 0 | 35,518 |

| Secretariat's recommendation: | Blanket approval |
| --- | --- |

PROJECT DESCRIPTION

# On behalf of the Government of Papua New Guinea, the Government of Germany as the designated implementing agency, has submitted to the 77th meeting a request for funding for the third tranche of the HCFC phase-out management plan (HPMP), at the amount of US $301,000, plus agency support costs of US $35,518. The submission includes a progress report on the implementation of the second tranche, the verification report on HCFC consumption and the tranche implementation plan for 2017 to 2020.

Report on HCFC consumption

# The Government of Papua New Guinea reported a consumption of 2.32 ODP tonnes of HCFC in 2015. The 2011-2015 HCFC consumption is shown in Table 1.

Table 1. HCFC consumption in Papua New Guinea (2011-2015 Article 7 data)

| HCFC-22 | 2011 | 2012 | 2013 | 2014 | 2015 | Baseline |
| --- | --- | --- | --- | --- | --- | --- |
| Metric tonnes | 30.81 | 55.71 | 54.95 | 52.2 | 42.2 | 60 |
| ODP tonnes | 1.69 | 3.06 | 3.02 | 2.87 | 2.32 | 3.3 |

# The country’s HCFC consumption consists primarily of HCFC-22 used solely in the servicing sector. HCFC consumption in Papua New Guinea has been decreasing since 2013 as a result of the activities in the refrigeration servicing sector implemented in the HPMP, and the implementation of the import/export quota system by the Government.

Verification report

# The verification report confirmed that the Government is implementing a licensing and quota system for HCFC imports and exports and that the consumption of HCFCs for 2015 of 2.32 ODP tonnes was in compliance with the Montreal Protocol and with the targets established in the Agreement between the Government of Papua New Guinea and the Executive Committee.

Country programme (CP) implementation report

# The Government of Papua New Guinea reported HCFC sector consumption data under the 2015 CP implementation report which is consistent with the data reported under Article 7 of the Montreal Protocol.

Progress report on the implementation of the second tranche of the HPMP

Legal framework and institutional strengthening

# The Government of Papua New Guinea is amending their current ozone regulation to include a ban on the import of HCFC-based equipment (by mid-2017) and the inclusion of hydrofluorocarbons (HFC) in the country’s licensing system (by beginning of 2018). The revised regulation will be published in the National Gazette once approved.

# The influx of domestic refrigeration equipment using HC-600a prompted the Government to develop a legal framework to adopt, implement and enforce regulations, codes of practices and standards for the use of flammable/toxic refrigerants for all equipment that may use those refrigerants. This process is ongoing. Sixty-two customs and enforcement officers were trained on enforcement of ODS-related regulations.

# Activities related to institutional strengthening such as data collection and reporting, awareness raising, and coordination with various stakeholders in Papua New Guinea continue to be implemented.

# Refrigeration servicing sector

# Ten recovery units, 40 recovery cylinders and 10 manifold sets were purchased and distributed to refrigeration and air-conditioning (RAC) technicians; and equipment (e.g., HC-based refrigerators and air-conditioners (AC), manifold sets, leak detector, recovery unit, and vacuum pump) was provided for training centres for the conduct of HC refrigerants training; 52 technicians were trained on good refrigeration practices; and the training manual/curriculum was upgraded. Fifteen trainers were trained on safe handling of HC refrigerants and additional three trainers were trained in Germany on safe handling of HCs, HCFC alternatives, and natural refrigerants.

Awareness and communication

# Three stakeholder workshops to provide information on HFCs, conversion of HCFC- and 
HFC-based equipment to ozone- and climate-friendly technology, relevant regulations and Customs requirements, were conducted with 90 participants; information materials were distributed to the RAC industry and the Customs office; and Ozone day celebrations were conducted (e.g., poster design competitions for schools; information on the ODS licensing system, and new alternatives to ODS).

Project implementation and monitoring unit (PMU)

# The National Ozone Unit (NOU) located with the Conservation Environment Protection Authority (CEPA) continues to be responsible for coordinating the implementation of activities of the HPMP. In 2017, the NOU will assign a dedicated PMU officer who will be responsible for monitoring activities to be implemented and support the NOU officer when required.

Level of fund disbursement

# As of September 2016, of the US $690,000 so far approved, US $433,534 had been disbursed (Table 2). The balance of US $256,466 will be disbursed by 2017.

Table 2. Financial report of stage I of the HPMP for Papua New Guinea (US $690,000)

| Agency | First tranche (US $) |  | Second tranche (US $) |  | Total approved (US $) |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Approved | Disbursed | Approved | Disbursed | Approved | Disbursed |
| Germany | 350,000 | 350,000 | 340,000 | 83,534 | 690,000 | 433,534 |
| Disbursement rate (%) | 100% |  | 24.6% |  | 62.8% |  |

Implementation plan for the third tranche of the HPMP

# The following activities will be:

## Two training courses for 50 Customs officers on enforcement of ODS regulations, and finalizing standards and guidelines for the use of flammable refrigerants in equipment (US $11,000);

## Three training courses for 100 technicians on recovery of refrigerants during service practices; hands-on brazing techniques to reduce leakage of refrigerants; theory on solder free technology; and safe handling of flammable refrigerants and their use in equipment (US $15,500);

## An end-user incentive pilot project (in 2019) to promote the use of HC-290 
air-conditioning (AC) in Port Moresby; another pilot project to demonstrate the use of CO2 in the commercial refrigeration sector and the use of HC-290 in a cold room system for the fisheries and food processing sectors (US $134,500);

## An end-user incentive programme for the import and installation of R-290-based 
AC units to demonstrate successful conversion/retrofitting of HCFC-based equipment with low-GWP refrigerants (funding from second tranche);

## Awareness activities including two stakeholder workshops for 100 participants about the HPMP and development of awareness materials (US $12,000);

## Coordination, assessment, evaluation, and reporting of the implementation of all the HPMP activities (US $58,000); and

## Activities related to institutional strengthening including collection, analysis and reporting of consumption data; this budget will also include running costs related to NOU as well as office equipment requirements and Ozone day celebrations and other awareness activities (US $70,000).

SECRETARIAT’S COMMENTS AND RECOMMENDATION

COMMENTS

Legal framework

# The Government of Papua New Guinea has already issued HCFC import quotas for 2017 at 
2.26 ODP tonnes, which is consistent with its Agreement with the Executive Committee.

Refrigeration servicing sector

# The Government of Germany confirmed that training activities for service technicians will be made sustainable through collaboration with academic institutions, in particular, Port Moresby Technical College, the Government-recognised institute that conducts RAC training courses. Training equipment will also be provided to two other colleges (i.e., Australia Pacific Technical College and Don Bosco Technical Institute) in order to promote good practices in refrigeration training programmes.

# Implementation of the end-user incentive programme which aimed to demonstrate cases of successful conversion/retrofitting of HCFC-based RAC equipment was included as part of the second tranche. The Government of Germany indicated that as the initial alternative considered for this programme was an HFC which was not consistent with the country’s carbon-neutral policy, this has been postponed for 2017 when it is expected that safety considerations for the use of HC would be in place. It also indicated that the Government of Papua New Guinea and the refrigeration association are aware of the decisions of the Executive Committee regarding retrofits, and are fully committed to ensuring that all safety considerations are taken into account if and when retrofitting is done.

Conclusion

# Implementation of the HPMP in Papua New Guinea is progressing. HCFC consumption in 2015 was 30 per cent below the baseline, which demonstrates compliance with the accelerated reduction schedules committed by the Government. The activities in the servicing sector will be sustainable through capacity built with academic institutions and the participation of the refrigeration association. It is also expected that the import of equipment using or containing HCFC will be banned by mid-2017.

RECOMMENDATION

# The Fund Secretariat recommends that the Executive Committee takes note of the progress report on the implementation of the second tranche of stage I of the HCFC phase-out management plan of (HPMP) for Papua New Guinea; and further recommends blanket approval of the third tranche of stage I of the HPMP for Papua New Guinea, and the corresponding 2017-2020 tranche implementation plan at the funding levels shown in the table below, on the understanding that if and when Papua New Guinea were to decide to proceed with retrofits and associated servicing to flammable and toxic refrigerants in refrigeration and air-conditioning equipment originally designed for non-flammable substances, it would do so assuming all associated responsibilities and risks and only in accordance with the relevant standards and protocols:

|  | Project title | Project funding (US $) | Support cost (US $) | Implementing agency |
| --- | --- | --- | --- | --- |
| (a) | HCFC phase-out management plan (stage I, third tranche) | 301,000 | 35,518 | Germany |

_______________

As per the letter of 30 September 2016 from the Conservation and Environment Protection Authority of Papua New Guinea to the Secretariat.

Decisions 72/17 and 73/34.