| UNITED NATIONS |  | EP |
| --- | --- | --- |
|  | United Nations Environment Programme | Distr. GENERAL UNEP/OzL.Pro/ExCom/78/4 6 March 2017 ORIGINAL: ENGLISH |

EXECUTIVE COMMITTEE OF
  THE MULTILATERAL FUND FOR THE
  IMPLEMENTATION OF THE MONTREAL PROTOCOL
Seventy- eighth Meeting

Montreal, 4-7 April 2017

AVAILABLE INFORMATION ON HFC CONSUMPTION AND PRODUCTION

IN ARTICLE 5 COUNTRIES

Background

- In the context of agenda item 10 on Issues relevant to the Executive Committee arising from the Twenty-eighth Meeting of the Parties to the Montreal Protocol of the 77th meeting, the Executive Committee requested the Secretariat to prepare a document containing preliminary information in response to the elements in decision XXVIII/2 addressing, among others, available information on HFC consumption and production, as well as on HFC-23 by-product, including from surveys of ODS alternatives funded by the Multilateral Fund and other sources (decision 77/59(b)(i)).

- This document consists of the following sections:

Section I	HFC production and consumption analysis based on Technology and Economic Assessment Panel (TEAP) Task Force reports under decisions XXV/5 and XXVI/9

Section II	Preliminary information on HFC consumption from the ODS alternatives surveys and other sources

- The document also contains the following Annexes:

Annex I	HFC production and consumption data contained on the TEAP Task Force reports under decisions XXV/5 and XXVI/9

Annex II	Information on HFC consumption from ODS alternatives survey reports from 30 Article 5 countries

Section I:	HFC production and consumption analysis based on TEAP Task Force reports

- Aggregate production and consumption of HFCs in Article 5 countries has been made available to the Parties to the Montreal Protocol through the reports prepared by the TEAP Task Forces under decisions XXV/5 and XXVI/9.

# Production sector

- Based on these reports, the aggregated global production of HFCs in 2015 was estimated at 314,515 metric tonnes (mt) of HFCs, consisting of 98,500 mt of HFC-125; 71,000 mt of HFC-32; 17,000 mt of HFC-143a and 126,000 mt of HFC-134a. As a reference, the HCFC baseline for production in Article 5 countries amounted to 501,266 mt (with the production of one country amounting to 430,962 mt). A substantial proportion of HFC-32 and HFC 125 was used for the production of HFC blends mainly R-410A, R-407C, R-404A, R-407F and R-507, with the former three constituting a significant proportion of the total HFC blends currently used.

- HFC-23 generated in the production of HCFC-22 in Article 5 countries has been emitted or destroyed, except for a small amount that was consumed in refrigeration, fire suppression, plasma-etching processes in semiconductor manufacturing or as a feedstock for producing other chemicals. HFC-23 emission data is difficult to obtain as most HFC-23 has been emitted as a waste gas. Based on the Article 7 data reporting, in 2015, the HFC-23 by-product from ODS production in six Article 5 countries (Argentina, China, Democratic People’s Republic of Korea, India, Mexico and Bolivarian Republic of Venezuela) was estimated at 7,357 mt; and additional HFC-23 generated from HCFC-22 feedstock production in China, India and Mexico was 8,142 mt.

Consumption sector

- HFC consumption in Article 5 countries is estimated to increase from 284,326 mt in 2015 to 1,021,216 mt in 2030 under a business-as-usual scenario, with over 95 per cent of the consumption in the refrigeration and air-conditioning sector. As a reference, the HCFC baseline for consumption in Article 5 countries amounted to 538,749 mt, with one country consuming 292,656 mt (i.e., over 54 per cent of the aggregated consumption). Over 99 per cent of the HCFC consumption was by three HCFCs: HCFC-22, representing the only HCFC used by all Article 5 countries (395,413 mt); HCFC-141b (107,971 mt); and HCFC-142b (31,580 mt).

- The Secretariat noted the following from the consumption trends projected in the TEAP reports:

- As of 2010, HFC-134a constituted the highest proportion of HFC consumption in mt followed by R-410A and R-407C. However, by 2030, the estimated consumption of R-410A will constitute the highest proportion of HFC consumption followed by R-407C and HFC-134a. This is due to the high growth rate of R-410A and R-407C in the air-conditioning sector on account of HCFC phase-out;

- HFC-134a consumption, in mt, is expected to grow in the next 20 years at a rate of 6 per cent in the refrigeration and air-conditioning (RAC) sector, followed by metered dose inhalers (MDI) applications and the foam sector. RAC applications including mobile air-conditioning (MAC) is expected to account for more than 90 per cent of the total HFC-134a consumption;

- The growth in consumption of R-410A, R-407C, R-404A, R-507, HFC-152a, HFC-245fa, and HFC-365mfc/HFC-227ea, in mt, over the next 20 years is estimated to be more than 10 per cent, mainly due to the conversion from HCFCs to HFC-based technologies in refrigeration, air-conditioning and foam applications. Consumption of HFC-152a, HFC-245fa, and HFC-365mfc/HFC-227ea is less than 2 per cent in mt even as of 2030; and

- Based on its global warming potential (GWP), in CO2 equivalent terms, in year 2010, R-410A accounted for the highest proportion of HFC consumption closely followed by HFC-134a. Consumption of R-407C, R-404A and R-507 were in the range of 10-12 per cent of the total consumption. By 2030, R-410A is estimated to constitute the highest proportion of the consumption followed by R-407C, R-507, R-404A and HFC-134a.

- There is an increase in alternative technologies that are becoming commercially available in local markets in Article 5 countries (i.e., HFC-32, CO2, NH3, and HFOs mainly as refrigerant and as foam blowing agents), where further optimization and commercialization could impact the future demand for HFCs. Furthermore, estimates show that HFC consumption in blends (e.g., R-410A, R-407C) is higher than HFC consumption as a pure substance (e.g., HFC-134a). A number of HFC blends are being researched and are likely to be adopted in different end-user applications. These blends may contain one or more of the HFCs listed in Annex F to the Kigali amendment.

# Section II:	Preliminary information on HFC consumption available from ODS alternatives survey and other sources

- At its 74th and 75th meetings, the Executive Committee approved the preparation of national surveys for ODS alternatives for 127 countries, 31 of which had been received as at 27 February 2017. Eleven reports were from non-low volume consuming (LVC) countries and 20 from LVC countries (i.e., two from West Asia, eight from Africa, six from Europe and Central Asia, and 15 from Latin America). Annex II to the present document presents summary tables on aggregated HFC consumption from the 30 reports that were submitted. A comprehensive report with potentially all the 127 surveys funded under the Multilateral Fund will be submitted to the 79th meeting.

- Based on the ODS surveys from the 30 Article 5 countries a total of 16 HFCs (pure) and 30 HFC blends, with GWPs ranging from 124 to 14,800, are currently used. For most of the countries, consumption was mainly HFC-134a, R-410A, R-404A, R-407C, and R-507A, and mainly used in refrigeration and air-conditioning applications. For LVCs, the consumption was mainly used in servicing and/or installation/charging of refrigeration and air-conditioning equipment. The consumption of pure HFCs except for HFC-134a was reported to be quite low, while the HFCs contained in blends appeared to be higher (i.e., share of HFC-32, HFC-125, HFC-134a, and HFC-143a contained in R-410A, R-404A, R-407C);

- In 2015, total HFC consumption (pure and blends) for the 30 countries was reported to be 42,077 mt. All countries reported consumption of HFC-134a, R-410A, R-404A; 28 countries reported consumption of R-407C, 23 reported consumption of R-507A; 11 countries reported consumption of HFC-152a; and only three countries reported consumption of (pure) HFC-32 for refrigeration servicing. In addition, 18 countries reported the consumption of other blends (two reporting more than 12 blends). The main HFCs and HFC-blends in these countries are summarized in Table 1.

Table 1. Main HFCs and HFC-blends consumed in 30 Article 5 countries

| HFC | % of total | Annual growth rate* | Uses |
| --- | --- | --- | --- |
| HFC-134a | 40 | 7 | Domestic and commercial refrigeration and MAC; with small uses in other RAC applications, foam and MDIs |
| HFC-410A | 26 | 23 | Air-conditioning applications |
| R-404A | 7 | 5 | Low temperature refrigeration applications |
| R-507A | 2 | 23 | RAC sector |
| R-407C | 1 | 11 | Air-conditioning applications |
| HFC-152a** | 8 | 33 | Industrial aerosol sector and extruded polystyrene foam |
| HFC-245fa*** | 9 | 9 | PU foam |
| Others | 6 | 35 | Small uses in all applications |
| Total | 100 | 13 |  |

(*) Calculated as compounded annual growth rate (CAGR) between 2012 and 2015, referred to in the document as “annual growth rate.”

(**) Over 90 per cent of this consumption was reported for only one country.

(***) One country reported a high use of HFC-245fa for the PU foam sector (i.e., around 15 per cent of its total HFC consumption

- HFC consumption in foam sector constituted around 10 per cent of the total HFC consumption, increasing from 2,883 mt in 2012 to 3,983 mt in 2015, with an annual growth rate of 11 per cent.The main HFCs consumed in the production of polyurethane (PU) foam included HFC-134, HFC-134a, HFC-152a, HFC-245fa, HFC-365mfc alone, and HFC-227ea/HFC-365mfc, with HFC-245fa constituting more than 95 per cent of consumption in mt (in one country, consumption of HFC-245fa represented 15 per cent of its total HFC consumption). HFC-134a and HFC-152a were also consumed for the production of extruded polystyrene (XPS) foam, with the consumption increasing from 268 mt in 2012 to 289 mt in 2015, with an annual growth rate of only 3 per cent.

- HFC consumption was reported in aerosol, fire-fighting and solvents applications representing about 11 per cent of the total consumption in 2015. A brief overview of HFC consumption in these applications is given below, noting that a large number of HFC free alternatives were also used in this sector:

## HFCs consumed in aerosol applications included HFC-134a, HFC-152a, HFC-227ea and HFC-365mfc/227ea, used in industrial aerosols (90 per cent) and MDIs (10 per cent consuming HFC-134a and HFC-227ea) applications. The consumption grew from 1,855 mt in 2012 to 4,116 mt, with an annual growth rate of 30 per cent;

## HFCs consumed in solvents included HFC-125, HFC-134a, HFC-152a, HFC-218, HFC-227ea, and HFC-43-10mee. The consumption grew from 20.7 mt in 2012 to 29.7 mt in 2015, with an annual growth rate of 13 per cent; and

## HFCs consumed in fire-fighting included HFC-125, HFC-365mfc, HFC-227ea, HFC-227ea/HFC-365mfc, HFC-23 and HFC-236fa, with consumption of HFC-125, HFC-227ea, and HFC-365mfc constituting more than 98 per cent of the total consumption. The consumption grew from 152 mt in 2012 to 352 mt in 2015, with an annual growth rate of 32 per cent.

Observations from the review of surveys on ODS alternatives

- In reviewing the HFC data provided in the surveys on ODS alternatives, the Secretariat had the following broad observations:

  - Some reports provided consumption data without specifying the sub-sector for which the HFC substance was used particularly in the refrigeration in servicing sector (e.g., MAC or domestic refrigeration);

  - Several of the reports did not provide breakdown of the specific sub-sector uses for each HFC and, therefore, a more detailed analysis of the distribution of HFC consumption per sector and sub-sector could not be done;

  - Several of the reports submitted included only the tables with HFC consumption data, which did not allow for an analysis of the methodology used, the forecast and trends in consumption. Complete reports will be finalized and submitted prior to the 79th meeting;

  - As the current licensing systems in all countries except for one do not include controls for the import/export of HFCs, countries provided only best estimates of HFC consumption; therefore, cross-checking was difficult; and

  - While some countries provided a forecast of HFC consumption, an overall projection was not possible due to limited number of data available (only four years from 2012 to 2015), major fluctuations in consumption, the consumption of new HFCs and/or HFC-blends during the reporting period. On this basis, forecasting HFC consumption for base years would need to consider other factors (such as the forecast of HCFCs, analysis on the trend of new technologies based on controlled substances being introduced, population growth rate and rate of population with access to refrigeration and air-conditioning equipment including automobiles).

Recommendation

# The Executive Committee may wish to note the document UNEP/OzL.Pro/ExCom/78/4 on Available information on HFC consumption and production in Article 5 countries.

Annex I

INFORMATION ON THE CONSUMPTION OF HFCs (TEAP TASK FORCES REPORTS)

HFC consumption in Article 5 countries by substance and sector

| Particulars | HFC consumption (mt) |  |  |  |  | Per cent of total |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 2010 | 2015 | 2020 | 2025 | 2030 | 2010 | 2015 | 2020 | 2025 | 2030 |
| RAC |  |  |  |  |  |  |  |  |  |  |
| HFC-134a | 54,393 | 74,524 | 100,162 | 127,267 | 161,107 | 43.5% | 27.3% | 21.9% | 18.2% | 16.5% |
| R-410A | 40,975 | 106,661 | 192,770 | 284,682 | 364,845 | 32.8% | 39.1% | 42.1% | 40.8% | 37.3% |
| R-407C | 16,543 | 55,278 | 101,216 | 174,433 | 285,500 | 13.2% | 20.3% | 22.1% | 25.0% | 29.2% |
| R-404A | 6,543 | 18,202 | 31,982 | 55,964 | 83,845 | 5.2% | 6.7% | 7.0% | 8.0% | 8.6% |
| R-507 | 6,543 | 18,202 | 31,982 | 55,964 | 83,845 | 5.2% | 6.7% | 7.0% | 8.0% | 8.6% |
| Total RAC | 124,997 | 272,867 | 458,112 | 698,310 | 979,142 | 100.0% | 100.0% | 100.0% | 100.0% | 100.0% |
| Foam |  |  |  |  |  |  |  |  |  |  |
| HFC-134a | 478 | 3,364 | 5,669 | 11,280 | 15,225 | 36.5% | 31.6% | 30.5% | 35.1% | 37.2% |
| HFC-152a | 478 | 3,364 | 5,669 | 11,280 | 15,225 | 36.5% | 31.6% | 30.5% | 35.1% | 37.2% |
| HFC-245fa | 354 | 2,172 | 3,840 | 4,986 | 5,504 | 27.0% | 20.4% | 20.6% | 15.5% | 13.4% |
| HFC-365mfc/ HFC-227ea | 0 | 1,758 | 3,428 | 4,546 | 5,020 | 0.0% | 16.5% | 18.4% | 14.2% | 12.3% |
| Total foam | 1,310 | 10,658 | 18,606 | 32,092 | 40,974 | 100.0% | 100.0% | 100.0% | 100.0% | 100.0% |
| MDI |  |  |  |  |  |  |  |  |  |  |
| HFC-134a | 700 | 800 | 900 | 1,000 | 1,100 | 100.00% | 100.00% | 100.00% | 100.00% | 100.00% |
| Total MDI | 700 | 800 | 900 | 1,000 | 1,100 | 100.0% | 100.0% | 100.0% | 100.0% | 100.0% |
| Total by HFC |  |  |  |  |  |  |  |  |  |  |
| HFC-134a | 55,571 | 78,688 | 106,731 | 139,547 | 177,432 | 43.8% | 27.7% | 22.3% | 19.1% | 17.4% |
| R-410A | 40,975 | 106,661 | 192,770 | 284,682 | 364,845 | 32.3% | 37.5% | 40.4% | 38.9% | 35.7% |
| R-407C | 16,543 | 55,278 | 101,216 | 174,433 | 285,500 | 13.0% | 19.4% | 21.2% | 23.8% | 28.0% |
| R-404A | 6,543 | 18,202 | 31,982 | 55,964 | 83,845 | 5.2% | 6.4% | 6.7% | 7.7% | 8.2% |
| R-507 | 6,543 | 18,202 | 31,982 | 55,964 | 83,845 | 5.2% | 6.4% | 6.7% | 7.7% | 8.2% |
| HFC-152a | 478 | 3364 | 5669 | 11280 | 15225 | 0.4% | 1.2% | 1.2% | 1.5% | 1.5% |
| HFC-245fa | 354 | 2172 | 3840 | 4986 | 5504 | 0.3% | 0.8% | 0.8% | 0.7% | 0.5% |
| HFC-365mfc/ HFC-227ea | 55 | 1758 | 3428 | 4546 | 5020 | 0.0% | 0.6% | 0.7% | 0.6% | 0.5% |
| Grand total | 127,007 | 284,325 | 477,618 | 731,402 | 1,021,216 | 100.0% | 100.0% | 100.0% | 100.0% | 100.0% |
| Total RAC | 124,997 | 272,867 | 458,112 | 698,310 | 979,142 | 98.4% | 96.0% | 95.9% | 95.5% | 95.9% |
| Total foam | 1,310 | 10,658 | 18,606 | 32,092 | 40,974 | 1.0% | 3.7% | 3.9% | 4.4% | 4.0% |
| Total MDI | 700 | 800 | 900 | 1000 | 1100 | 0.6% | 0.3% | 0.2% | 0.1% | 0.1% |

Note: There may be minor differences due to round-off of numbers.

Distribution of HFC consumption in Article 5 countries by sector and subsector

| Sectors | Substance | HFC consumption (mt) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2010 | 2015 | 2020 | 2025 | 2030 |
| Domestic | HFC-134a | 12,941 | 13,329 | 15,333 | 18,242 | 21,634 |
| Commercial | HFC-134a | 2,743 | 5,089 | 9,356 | 11,910 | 15,018 |
| Commercial | R-404A | 5,672 | 15,696 | 27,753 | 48,912 | 74,142 |
| Commercial | R-507 | 5,672 | 15,696 | 27,753 | 48,912 | 74,142 |
| Industrial | HFC-134a | 720 | 1,320 | 2,255 | 3,730 | 6,074 |
| Industrial | R-404A | 300 | 1,567 | 3,133 | 5,485 | 7,607 |
| Industrial | R-507 | 300 | 1,567 | 3,133 | 5,485 | 7,607 |
| Transport | HFC-134a | 544 | 1,075 | 1,982 | 2,608 | 3,104 |
| Transport | R-404A | 572 | 941 | 1,096 | 1,568 | 2,098 |
| Transport | R-507 | 572 | 941 | 1,096 | 1,568 | 2,098 |
| SAC | HFC-134a | 1,091 | 2,315 | 4,556 | 5,849 | 7,087 |
| SAC | R-410A | 40,975 | 106,661 | 192,770 | 284,682 | 364,845 |
| SAC | R-407C | 16,543 | 55,278 | 101,216 | 174,433 | 285,500 |
| MAC | HFC-134a | 36,354 | 51,396 | 66,680 | 84,928 | 108,190 |
| Foam | HFC-134a | 478 | 3,364 | 5,669 | 11,280 | 15,225 |
| Foam | HFC-152a | 478 | 3,364 | 5,669 | 11,280 | 15,225 |
| Foam | HFC-245fa | 354 | 2,172 | 3,840 | 4,986 | 5,504 |
| Foam | HFC-365mfc/ HFC-227ea | 0 | 1,758 | 3,428 | 4,546 | 5,020 |
| MDI | HFC-134a | 700 | 800 | 900 | 1,000 | 1,100 |
| Total |  | 127,009 | 284,329 | 477,618 | 731,404 | 1,021,220 |
| Manufacturing |  |  |  |  |  |  |
| Domestic | HFC-134a | 11,234 | 12,812 | 14,610 | 17,323 | 20,540 |
| Commercial | HFC-134a | 2,617 | 4,779 | 8,726 | 10,874 | 13,551 |
| Commercial | R-404A | 4,608 | 10,402 | 15,515 | 26,206 | 38,395 |
| Commercial | R-507 | 4,608 | 10,402 | 15,515 | 26,206 | 38,395 |
| Industrial | HFC-134a | 406 | 650 | 1,040 | 1,663 | 2,661 |
| Industrial | R-404A | 119 | 807 | 1,266 | 1,986 | 2,218 |
| Industrial | R-507 | 119 | 807 | 1,266 | 1,986 | 2,218 |
| Transport | HFC-134a | 321 | 551 | 948 | 964 | 981 |
| Transport | R-404A | 439 | 621 | 579 | 830 | 1,145 |
| Transport | R-507 | 439 | 621 | 579 | 830 | 1,145 |
| Air conditioning | HFC-134a | 862 | 1,587 | 2,923 | 3,072 | 3,229 |
| Air conditioning | R-410A | 34,583 | 82,577 | 134,702 | 178,540 | 206,625 |
| Air conditioning | R-407C | 6,107 | 26,645 | 43,128 | 69,810 | 112,998 |
| MAC | HFC-134a | 25,061 | 32,577 | 40,822 | 52,100 | 66,495 |
| Foam | HFC-134a | 478 | 3,364 | 5,669 | 11,280 | 15,225 |
| Foam | HFC-152a | 478 | 3,364 | 5,669 | 11,280 | 15,225 |
| Foam | HFC-245fa | 354 | 2,172 | 3,840 | 4,986 | 5,504 |
| Foam | HFC-365mfc/ HFC-227ea | 0 | 1,758 | 3,428 | 4,546 | 5,020 |
| MDI | HFC-134a | 700 | 800 | 900 | 1,000 | 1,100 |
| Total |  | 93,533 | 197,296 | 301,125 | 425,482 | 552,670 |
| Servicing |  |  |  |  |  |  |
| Domestic | HFC-134a | 1,707 | 517 | 723 | 919 | 1,094 |
| Commercial | HFC-134a | 126 | 310 | 630 | 1,036 | 1,467 |
| Commercial | R-404A | 1,064 | 5,294 | 12,238 | 22,706 | 35,747 |
| Commercial | R-507 | 1,064 | 5,294 | 12,238 | 22,706 | 35,747 |
| Industrial | HFC-134a | 314 | 670 | 1,215 | 2,067 | 3,413 |
| Industrial | R-404A | 181 | 760 | 1,867 | 3,499 | 5,389 |
| Industrial | R-507 | 181 | 760 | 1,867 | 3,499 | 5,389 |
| Transport | HFC-134a | 223 | 524 | 1,034 | 1,644 | 2,123 |
| Transport | R-404A | 133 | 320 | 517 | 738 | 953 |
| Transport | R-507 | 133 | 320 | 517 | 738 | 953 |
| Air conditioning | HFC-134a | 229 | 728 | 1,633 | 2,777 | 3,858 |
| Air conditioning | R-410A | 6,392 | 24,084 | 58,068 | 106,142 | 158,220 |
| Air conditioning | R-407C | 10,436 | 28,633 | 58,088 | 104,623 | 172,502 |
| MAC | HFC-134a | 11,293 | 18,819 | 25,858 | 32,828 | 41,695 |
| Total |  | 33,476 | 87,033 | 176,493 | 305,922 | 468,550 |
| Grand total |  |  |  |  |  |  |
| RAC |  | 124,999 | 272,871 | 458,112 | 698,312 | 979,146 |
| Foam |  | 1,310 | 10,658 | 18,606 | 32,092 | 40,974 |
| MDI |  | 700 | 800 | 900 | 1,000 | 1,100 |
| Total |  | 127,009 | 284,329 | 477,618 | 731,404 | 1,021,220 |
| Manufacturing |  |  |  |  |  |  |
| RAC |  | 91,523 | 185,838 | 281,619 | 392,390 | 510,596 |
| Foam |  | 1,310 | 10,658 | 18,606 | 32,092 | 40,974 |
| MDI |  | 700 | 800 | 900 | 1000 | 1100 |
| Total |  | 93,523 | 197,296 | 301,125 | 425,482 | 552,670 |
| Servicing |  |  |  |  |  |  |
| RAC |  | 33,476 | 87,033 | 176,493 | 305,922 | 468,550 |
| Total |  | 33,476 | 87,033 | 176,493 | 305,922 | 468,550 |
| RAC manufacturing |  | 91,523 | 185,838 | 281,619 | 392,390 | 510,596 |
| Refrigeration servicing |  | 33,476 | 87,033 | 176,493 | 305,922 | 468,550 |
| RAC total |  | 124,999 | 272,871 | 458,112 | 698,312 | 979,146 |

Note: There may be minor differences due to round-off of numbers.

Estimates of distribution of HFC consumption in Article 5 countries by substance in CLP

| Sectors | Substance | CLP | 2010 | 2015 | 2020 | 2025 | 2030 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Domestic | HFC-134a | 1.000 | 12,941 | 13,329 | 15,333 | 18,242 | 21,634 |
| Commercial | HFC-134a | 1.000 | 2,743 | 5,089 | 9,356 | 11,910 | 15,018 |
| Commercial | R-404A | 2.743 | 15,558 | 43,054 | 76,126 | 134,166 | 203,372 |
| Commercial | R-507 | 2.786 | 15,802 | 43,729 | 77,320 | 136,269 | 206,560 |
| Industrial | HFC-134a | 1.000 | 720 | 1,320 | 2,255 | 3,730 | 6,074 |
| Industrial | R-404A | 2.743 | 823 | 4,298 | 8,594 | 15,045 | 20,866 |
| Industrial | R-507 | 2.786 | 836 | 4,366 | 8,729 | 15,281 | 21,193 |
| Transport | HFC-134a | 1.000 | 544 | 1,075 | 1,982 | 2,608 | 3,104 |
| Transport | R-404A | 2.743 | 1,569 | 2,581 | 3,006 | 4,301 | 5,755 |
| Transport | R-507 | 2.786 | 1,594 | 2,622 | 3,053 | 4,368 | 5,845 |
| SAC | HFC-134a | 1.000 | 1,091 | 2,315 | 4,556 | 5,849 | 7,087 |
| SAC | R-410A | 1.460 | 59,824 | 155,725 | 281,444 | 415,636 | 532,674 |
| SAC | R-407C | 1.241 | 20,530 | 68,600 | 125,609 | 216,471 | 354,306 |
| MAC | HFC-134a | 1.000 | 36,354 | 51,396 | 66,680 | 84,928 | 108,190 |
| Foam | HFC-134a | 1.000 | 478 | 3,364 | 5,669 | 11,280 | 15,225 |
| Foam | HFC-152a | 0.087 | 42 | 293 | 493 | 981 | 1,325 |
| Foam | HFC-245fa | 0.720 | 255 | 1,564 | 2,765 | 3,590 | 3,963 |
| Foam | HFC-365mfc/HFC-227ea | 1.000 | 0 | 1,758 | 3,428 | 4,546 | 5,020 |
| MDI | HFC-134a | 1.000 | 700 | 800 | 900 | 1,000 | 1,100 |
| Total |  |  | 172,403 | 407,277 | 697,299 | 1,090,202 | 1,538,309 |
| HFC-134a |  |  | 55,571 | 78,688 | 106,731 | 139,547 | 177,432 |
| R-410A |  |  | 59,824 | 155,725 | 281,444 | 415,636 | 532,674 |
| R-407C |  |  | 20,530 | 68,600 | 125,609 | 216,471 | 354,306 |
| R-404A |  |  | 17,950 | 49,934 | 87,727 | 153,512 | 229,992 |
| R-507 |  |  | 18,232 | 50,716 | 89,102 | 155,918 | 233,598 |
| Others |  |  | 351 | 3,615 | 6,686 | 9,117 | 10,307 |
| Manufacturing |  |  |  |  |  |  |  |
| Domestic | HFC-134a | 1.000 | 11,234 | 12,812 | 14,610 | 17,323 | 20,540 |
| Commercial | HFC-134a | 1.000 | 2,617 | 4,779 | 8,726 | 10,874 | 13,551 |
| Commercial | R-404A | 2.743 | 12,640 | 28,533 | 42,558 | 71,883 | 105,317 |
| Commercial | R-507 | 2.786 | 12,838 | 28,980 | 43,225 | 73,010 | 106,968 |
| Industrial | HFC-134a | 1.000 | 406 | 650 | 1,040 | 1,663 | 2,661 |
| Industrial | R-404A | 2.743 | 326 | 2,214 | 3,473 | 5,448 | 6,084 |
| Industrial | R-507 | 2.786 | 332 | 2,248 | 3,527 | 5,533 | 6,179 |
| Transport | HFC-134a | 1.000 | 321 | 551 | 948 | 964 | 981 |
| Transport | R-404A | 2.743 | 1,204 | 1,703 | 1,588 | 2,277 | 3,141 |
| Transport | R-507 | 2.786 | 1,223 | 1,730 | 1,613 | 2,312 | 3,190 |
| SAC | HFC-134a | 1.000 | 862 | 1,587 | 2,923 | 3,072 | 3,229 |
| SAC | R-410A | 1.460 | 50,491 | 120,562 | 196,665 | 260,668 | 301,673 |
| SAC | R-407C | 1.241 | 7,579 | 33,066 | 53,522 | 86,634 | 140,231 |
| MAC | HFC-134a | 1.000 | 25,061 | 32,577 | 40,822 | 52,100 | 66,495 |
| Foam | HFC-134a | 1.000 | 478 | 3,364 | 5,669 | 11,280 | 15,225 |
| Foam | HFC-152a | 0.087 | 42 | 293 | 493 | 981 | 1,325 |
| Foam | HFC-245fa | 0.720 | 255 | 1,564 | 2,765 | 3,590 | 3,963 |
| Foam | HFC-365mfc/HFC-227ea | 1.000 | 0 | 1,758 | 3,428 | 4,546 | 5,020 |
| MDI | HFC-134a | 1.000 | 700 | 800 | 900 | 1,000 | 1,100 |
| Total |  |  | 128,608 | 279,771 | 428,494 | 615,159 | 806,872 |
| Servicing |  |  |  |  |  |  |  |
| Domestic | HFC-134a | 1.000 | 1,707 | 517 | 723 | 919 | 1,094 |
| Commercial | HFC-134a | 1.000 | 126 | 310 | 630 | 1,036 | 1,467 |
| Commercial | R-404A | 2.743 | 2,919 | 14,521 | 33,569 | 62,283 | 98,054 |
| Commercial | R-507 | 2.786 | 2,964 | 14,749 | 34,095 | 63,259 | 99,591 |
| Industrial | HFC-134a | 1.000 | 314 | 670 | 1,215 | 2,067 | 3,413 |
| Industrial | R-404A | 2.743 | 496 | 2,085 | 5,121 | 9,598 | 14,782 |
| Industrial | R-507 | 2.786 | 504 | 2,117 | 5,201 | 9,748 | 15,014 |
| Transport | HFC-134a | 1.000 | 223 | 524 | 1,034 | 1,644 | 2,123 |
| Transport | R-404A | 2.743 | 365 | 878 | 1,418 | 2,024 | 2,614 |
| Transport | R-507 | 2.786 | 371 | 892 | 1,440 | 2,056 | 2,655 |
| SAC | HFC-134a | 1.000 | 229 | 728 | 1,633 | 2,777 | 3,858 |
| SAC | R-410A | 1.460 | 9,332 | 35,163 | 84,779 | 154,967 | 231,001 |
| SAC | R-407C | 1.241 | 12,951 | 35,534 | 72,087 | 129,837 | 214,075 |
| MAC | HFC-134a | 1.000 | 11,293 | 18,819 | 25,858 | 32,828 | 41,695 |
| Foam | HFC-134a | 1.000 | - | - | - | - | - |
| Foam | HFC-152a | 0.087 | - | - | - | - | - |
| Foam | HFC-245fa | 0.720 | - | - | - | - | - |
| Foam | HFC-365mfc/HFC-227ea | 1.000 | - | - | - | - | - |
| MDI | HFC-134a | 1.000 | - | - | - | - | - |
| Total |  |  | 43,794 | 127,506 | 268,805 | 475,043 | 731,436 |
| Grand total |  |  |  |  |  |  |  |
| RAC |  |  | 170,928 | 399,499 | 684,044 | 1,068,805 | 1,511,676 |
| Foam |  |  | 774 | 6,979 | 12,355 | 20,397 | 25,532 |
| MDI |  |  | 700 | 800 | 900 | 1,000 | 1,100 |
| Total |  |  | 172,403 | 407,277 | 697,299 | 1,090,202 | 1,538,309 |
| Manufacturing |  |  |  |  |  |  |  |
| RAC |  |  | 127,134 | 271,993 | 415,239 | 593,761 | 780,240 |
| Foam |  |  | 774 | 6,979 | 12,355 | 20,397 | 25,532 |
| MDI |  |  | 700 | 800 | 900 | 1,000 | 1,100 |
| Total |  |  | 128,608 | 279,771 | 428,494 | 615,159 | 806,872 |
| Servicing |  |  |  |  |  |  |  |
| RAC |  |  | 43,794 | 127,506 | 268,805 | 475,043 | 731,436 |
| Foam |  |  | - | - | - | - | - |
| MDI |  |  | - | - | - | - | - |
| Total |  |  | 43,794 | 127,506 | 268,805 | 475,043 | 731,436 |
| RAC manufacturing |  |  | 127,134 | 271,993 | 415,239 | 593,761 | 780,240 |
| Refrigeration servicing |  |  | 43,794 | 127,506 | 268,805 | 475,043 | 731,436 |
| RAC total |  |  | 170,928 | 399,499 | 684,044 | 1,068,805 | 1,511,676 |

Annex II

INFORMATION ON THE CONSUMPTION OF HFCs (ODS ALTERNATIVES SURVEY)

HFC consumption from 30 Article 5 countries by substance and sector

| Substance | HFC consumption (mt) |  |  |  | Per cent of total |  |  |  | Annual growth rate |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 2012 | 2013 | 2014 | 2015 | 2012 | 2013 | 2014 | 2015 |  |
| RAC |  |  |  |  |  |  |  |  |  |
| HFC-32 | 2.13 | 5.55 | 0.51 | 3.97 | 0.0% | 0.0% | 0.0% | 0.0% | 23.1% |
| HFC-134a | 9,588.56 | 9,206.71 | 11,307.53 | 10,744.29 | 48.6% | 39.4% | 37.7% | 38.4% | 3.9% |
| HFC-152a | 1.03 | 0.47 | 2.37 | 2.07 | 0.0% | 0.0% | 0.0% | 0.0% | 26.2% |
| HFC-227ea | 7.00 | - | - | - | 0.0% | 0.0% | 0.0% | 0.0% | 0% |
| HFC-143a | 4.26 | 3.44 | 3.24 | 0.75 | 0.0% | 0.0% | 0.0% | 0.0% | -44.0% |
| HFC-23 | 0.82 | 0.80 | 0.24 | 2.09 | 0.0% | 0.0% | 0.0% | 0.0% | 36.6% |
| Other pure HFCs | 9.01 | 14.49 | - | - | 0.0% | 0.1% | 0.0% | 0.0% | 0% |
| R-404A | 2,458.23 | 2,654.29 | 3,340.21 | 2,882.66 | 12.5% | 11.4% | 11.2% | 10.3% | 5.5% |
| R-407C | 386.84 | 426.12 | 541.71 | 524.01 | 2.0% | 1.8% | 1.8% | 1.9% | 10.6% |
| R-410A | 6,010.26 | 9,581.86 | 12,344.18 | 11,244.73 | 30.5% | 41.0% | 41.2% | 40.2% | 23.2% |
| R-507A | 510.76 | 621.99 | 1,486.72 | 956.73 | 2.6% | 2.7% | 5.0% | 3.4% | 23.3% |
| Other blends | 754.89 | 858.94 | 929.84 | 1,627.13 | 3.8% | 3.7% | 3.1% | 5.8% | 29.2% |
| Total RAC | 19,733.79 | 23,374.66 | 29,956.55 | 27,988.43 | 100.00% | 100.00% | 100.00% | 100.00% | 12.4% |
| MAC |  |  |  |  |  |  |  |  |  |
| HFC-134a | 4,038.02 | 4,590.96 | 4,886.96 | 5,228.42 | 100.00% | 100.00% | 100.00% | 100.00% | 9.0% |
| Total MAC | 4,038.02 | 4,590.96 | 4,886.96 | 5,228.42 | 100.0% | 100.0% | 100.0% | 100.0% | 9.0% |
| Foam |  |  |  |  |  |  |  |  |  |
| HFC-134a | 161.61 | 148.24 | 154.55 | 166.6 | 5.1% | 3.9% | 4.0% | 3.9% | 1.0% |
| HFC-152a | 165.80 | 169.2 | 215.6 | 199.1 | 5.3% | 4.4% | 5.6% | 4.6% | 6.3% |
| HFC-245fa | 2,816.99 | 3,406.32 | 3,397.52 | 3,609.73 | 89.4% | 89.6% | 87.8% | 83.7% | 8.6% |
| HFC-365mfc | 7.10 | 27.1 | 8.3 | 133.28 | 0.2% | 0.7% | 0.2% | 3.1% | 165.8% |
| Other pure HFCs | - | 51.14 | 89.4 | 183.17 | 0.0% | 1.3% | 2.3% | 4.2% | 0.0% |
| Other blends | - | 0.8 | 5.1 | 19.9 | 0.0% | 0.0% | 0.1% | 0.5% | 0.0% |
| Total Foam | 3,151.50 | 3,802.80 | 3,870.47 | 4,311.78 | 100.00% | 100.00% | 100.00% | 100.00% | 11.0% |
| Solvents |  |  |  |  |  |  |  |  |  |
| HFC-134a | 3.48 | 4.51 | 4.59 | 5.53 | 16.8% | 14.9% | 42.3% | 18.7% | 16.7% |
| HFC-152a | - | 0.20 | 1.75 | 3.24 | 0.0% | 0.7% | 16.1% | 10.9% | 0.0% |
| HFC-227ea | 2.51 | 2.85 | 2.93 | 4.10 | 12.1% | 9.4% | 27.0% | 13.8% | 17.8% |
| Other pure HFCs | 14.69 | 22.65 | 1.57 | 16.78 | 71.0% | 75.0% | 14.5% | 56.6% | 4.5% |
| Total Solvents | 20.68 | 30.21 | 10.84 | 29.65 | 100.0% | 100.0% | 100.0% | 100.0% | 12.8% |
| Firefighting |  |  |  |  |  |  |  |  |  |
| HFC-227ea | 106.38 | 74.23 | 75.94 | 116.93 | 70.0% | 46.3% | 53.7% | 33.2% | 3.2% |
| HFC-365mfc | 4.80 | 14.40 | 4.80 | 20.00 | 3.2% | 9.0% | 3.4% | 5.7% | 60.9% |
| HFC-125 | 21.15 | 17.54 | 34.25 | 139.24 | 13.9% | 11.0% | 24.2% | 39.6% | 87.4% |
| HFC-23 | - | - | - | 0.10 | 0.0% | 0.0% | 0.0% | 0.0% | 0.0% |
| HFC-236fa | 19.04 | 53.14 | 23.57 | 73.24 | 12.5% | 33.2% | 16.7% | 20.8% | 56.7% |
| HFC-227ea/HFC-365mfc | 0.60 | 0.85 | 2.93 | 2.48 | 0.4% | 0.5% | 2.1% | 0.7% | 60.5% |
| Total Firefighting | 151.97 | 160.16 | 141.49 | 351.99 | 100.0% | 100.0% | 100.0% | 100.0% | 32.3% |
| Aerosol |  |  |  |  |  |  |  |  |  |
| HFC-134a | 596.42 | 662.84 | 768.14 | 879.93 | 32.2% | 25.3% | 22.5% | 21.4% | 13.8% |
| HFC-152a | 1,257.66 | 1,954.65 | 2,634.03 | 3,214.07 | 67.8% | 74.5% | 77.1% | 78.1% | 36.7% |
| HFC-227ea | 0.82 | 5.04 | 13.09 | 14.98 | 0.0% | 0.2% | 0.4% | 0.4% | 163.4% |
| Other pure HFCs | - | - | - | 7.20 | 0.0% | 0.0% | 0.0% | 0.2% | 0.0% |
| Total Aerosol | 1,854.90 | 2,622.53 | 3,415.26 | 4,116.18 | 100.0% | 100.0% | 100.0% | 100.0% | 30.4% |
| Other applications |  |  |  |  |  |  |  |  |  |
| HFC-134a | 9.45 | 0.07 | 2.56 | 9.04 | 0.5% | 0.0% | 0.1% | 0.2% | -1.5% |
| HFC-152a | 53.60 | 67.05 | 22.60 | 39.78 | 2.9% | 2.6% | 0.7% | 1.0% | -9.5% |
| HFC-23 | - | 0.02 | - | 0.06 | 0.0% | 0.0% | 0.0% | 0.0% | 0.0% |
| R-507A | - | - | - | 1.64 | 0.0% | 0.0% | 0.0% | 0.0% | 0.0% |
| Total Other applications | 63.05 | 67.14 | 25.16 | 50.52 | 3.4% | 2.6% | 0.7% | 1.2% | -7.1% |
| Total by HFC |  |  |  |  |  |  |  |  |  |
| HFC-23 | 0.82 | 0.82 | 0.24 | 2.25 | 0.0% | 0.0% | 0.0% | 0.0% | 40.0% |
| HFC-32 | 2.13 | 5.55 | 0.51 | 3.97 | 0.0% | 0.0% | 0.0% | 0.0% | 23.1% |
| HFC-125 | 21.15 | 17.54 | 34.25 | 139.24 | 0.1% | 0.1% | 0.1% | 0.3% | 87.4% |
| HFC-134a | 14,397.54 | 14,613.33 | 17,124.33 | 17,033.81 | 49.6% | 42.2% | 40.5% | 40.5% | 5.8% |
| HFC-143a | 4.26 | 3.44 | 3.24 | 0.75 | 0.0% | 0.0% | 0.0% | 0.0% | -44.0% |
| HFC-152a | 1,478.09 | 2,191.57 | 2,876.35 | 3,458.26 | 5.1% | 6.3% | 6.8% | 8.2% | 32.8% |
| HFC-227ea | 116.71 | 82.12 | 91.96 | 136.01 | 0.4% | 0.2% | 0.2% | 0.3% | 5.2% |
| HFC-236fa | 19.04 | 53.14 | 23.57 | 73.24 | 0.1% | 0.2% | 0.1% | 0.2% | 56.7% |
| HFC-245fa | 2,816.99 | 3,406.32 | 3,397.52 | 3,609.73 | 9.7% | 9.8% | 8.0% | 8.6% | 8.6% |
| HFC-365mfc | 11.90 | 41.50 | 13.10 | 153.28 | 0.0% | 0.1% | 0.0% | 0.4% | 134.4% |
| HFC-227ea/HFC-365mfc | 0.60 | 0.85 | 2.93 | 2.48 | 0.0% | 0.0% | 0.0% | 0.0% | 60.5% |
| Other pure HFCs | 23.70 | 88.28 | 90.97 | 207.15 | 0.1% | 0.3% | 0.2% | 0.5% | 106.0% |
| R-404A | 2,458.23 | 2,654.29 | 3,340.21 | 2,882.66 | 8.5% | 7.7% | 7.9% | 6.9% | 5.5% |
| R-407C | 386.84 | 426.12 | 541.71 | 524.01 | 1.3% | 1.2% | 1.3% | 1.2% | 10.6% |
| R-410A | 6,010.26 | 9,581.86 | 12,344.18 | 11,244.73 | 20.7% | 27.7% | 29.2% | 26.7% | 23.2% |
| R-507A | 510.76 | 621.99 | 1,486.72 | 958.37 | 1.8% | 1.8% | 3.5% | 2.3% | 23.3% |
| Others blends | 754.89 | 859.74 | 934.94 | 1,647.03 | 2.6% | 2.5% | 2.2% | 3.9% | 29.7% |
| GRAND TOTAL | 29,013.91 | 34,648.46 | 42,306.73 | 42,076.97 | 100.0% | 100.0% | 100.0% | 100.0% | 13.2% |
| Total RAC | 19,733.79 | 23,374.66 | 29,956.55 | 27,988.43 | 68.0% | 67.5% | 70.8% | 66.5% | 12.4% |
| Total MAC | 4,038.02 | 4,590.96 | 4,886.96 | 5,228.42 | 13.9% | 13.3% | 11.6% | 12.4% | 9.0% |
| Total Foam | 3,151.50 | 3,802.80 | 3,870.47 | 4,311.78 | 10.9% | 11.0% | 9.1% | 10.2% | 11.0% |
| Total Solvents | 20.68 | 30.21 | 10.84 | 29.65 | 0.1% | 0.1% | 0.0% | 0.1% | 12.8% |
| Total Firefighting | 151.97 | 160.16 | 141.49 | 351.99 | 0.5% | 0.5% | 0.3% | 0.8% | 32.3% |
| Total Aerosol | 1,854.90 | 2,622.53 | 3,415.26 | 4,116.18 | 6.4% | 7.6% | 8.1% | 9.8% | 30.4% |
| Total Other applications | 63.05 | 67.14 | 25.16 | 50.52 | 0.2% | 0.2% | 0.1% | 0.1% | -7.1% |

Montreal, Canada, 28 November – 2 December 2016.

Includes surveys submitted by 27 February 2017 by the following 30 Article 5 countries: Albania, Argentina, Bolivia (Plurinational State of), Bosnia and Herzegovina, Chile, Colombia, Costa Rica, Dominican Republic, Ecuador, El Salvador, Guatemala, Honduras, Kenya, Lebanon, Madagascar, Mexico, Montenegro, Nicaragua, Oman, Panama, Paraguay, Republic of Moldova, Senegal, Serbia, South Sudan, Swaziland, The Former Yugoslav Republic of Macedonia, Uganda, Uruguay and Zimbabwe.

TEAP Task Force Report on Decision XXVI-9 Additional Information on Alternatives to ODS.

HFC-32 (50 per cent), HFC-125 (50 per cent).

HFC-32 (23 per cent), HFC-125 (25 per cent), HFC-134a (52 per cent).

HFC-125 (44 per cent), HFC-143a (52 per cent), HFC-134a (4 per cent).

HFC-32 (30 per cent), HFC-125 (30 per cent), HFC-134a (40 per cent).

HFC-125 (50 per cent), HFC-143a (50 per cent).

A detailed analysis of HFC-23 is contained in document UNEP/OzL.Pro/ExCom/78/9.

The business-as-usual scenario of the TEAP did not consider the Kigali Amendment

For this report, R-404A and R-507 which was an aggregate figure in the TEAP report is presented as 50 per cent each of the combined total, and similarly for use of HFC-134a and HFC-152a in the foam sector.

Fifteen ODS survey reports were completed, while 16 provided only data on ODS alternatives consumption without the full report; analysis of 30 reports are provided as one country (African region) submitted preliminary and incomplete data.

Due to the small sample size and the fact that the TEAP data was not disaggregated by country, it was not possible to compare HFC consumption data collected from the ODS alternatives surveys and that provided by the TEAP

CLP presents relative value of the climate impact potential of a substance compared with that of HFC-134a which is assigned a reference value of 1.