| UNITED NATIONS |  | EP |
| --- | --- | --- |
|  | United Nations Environment Programme | Distr. GENERAL UNEP/OzL.Pro/ExCom/88/54 4 November 2021 ORIGINAL: ENGLISH |

EXECUTIVE COMMITTEE OF
  THE MULTILATERAL FUND FOR THE
  IMPLEMENTATION OF THE MONTREAL PROTOCOL
Eighty-eighth Meeting

Montreal, 15-19 November 2021

PROJECT PROPOSAL: MOROCCO

This document consists of the comments and recommendation of the Secretariat on the following project proposal:

Phase-out

| - HCFC phase-out management plan (stage II, first tranche) | UNIDO |
| --- | --- |

PROJECT EVALUATION SHEET – MULTI-YEAR PROJECTS

MOROCCO

| (I) PROJECT TITLE | AGENCY |
| --- | --- |
| HCFC phase-out plan (stage II) | UNIDO (lead) |

| (II) LATEST ARTICLE 7 DATA (Annex C Group l) | Year: 2020 | 25.26 (ODP tonnes) |
| --- | --- | --- |

| (III) LATEST COUNTRY PROGRAMME SECTORAL DATA (ODP tonnes) |  |  |  |  |  |  |  | Year: 2020 |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Chemical | Aerosol | Foam | Fire- fighting | Refrigeration |  | Solvent | Process agent | Lab use | Total sector consumption |
|  |  |  |  | Manufacturing | Servicing |  |  |  |  |
| HCFC-22 |  |  |  |  | 25.26 |  |  |  | 25.26 |
| HCFC-141b in imported pre-blended polyols |  | 11.47 |  |  |  |  |  |  | 11.47 |

| (IV) CONSUMPTION DATA (ODP tonnes) |  |  |  |
| --- | --- | --- | --- |
| 2009 - 2010 baseline: | 51.40 | Starting point for sustained aggregate reductions: | 67.79 |
| CONSUMPTION ELIGIBLE FOR FUNDING (ODP tonnes) |  |  |  |
| Already approved: | 26.51 | Remaining: | 41.28 |

| (V) BUSINESS PLAN |  | 2021 | 2022 | 2023 | Total |
| --- | --- | --- | --- | --- | --- |
| UNIDO | ODS phase-out (ODP tonnes) | 15.90 | 0 | 9.00 | 24.90 |
|  | Funding (US $) | 1,284,958 | 0 | 840,429 | 2,125,387 |

| (VI) PROJECT DATA |  |  | 2021 | 2022 | 2023 | 2024 | 2025 | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Montreal Protocol consumption limits |  |  | 33.38 | 33.38 | 33.38 | 33.38 | 16.69 | n/a |
| Maximum allowable consumption (ODP tonnes) |  |  | 33.38 | 25.33 | 25.33 | 25.33 | 16.69 | n/a |
| Project costs requested in principle (US $) | UNIDO | Project costs | 370,000 | 0 | 305,000 | 0 | 79,032 | 754,032 |
|  |  | Support costs | 25,900 | 0 | 21,350 | 0 | 5,532 | 52,782 |
| Total project costs requested in principle (US $) |  |  | 370,000 |  | 305,000 | 0 | 79,032 | 754,032 |
| Total support costs requested in principle (US $) |  |  | 25,900 |  | 21,350 | 0 | 5,532 | 52,782 |
| Total funds requested in principle (US $) |  |  | 395,900 |  | 326,350 | 0 | 84,564 | 806,814 |

| (VII) Request for approval of funding for the first tranche (2021) |  |  |
| --- | --- | --- |
| Agency | Funds requested (US $) | Support costs (US $) |
| UNIDO | 370,000 | 25,900 |

| Secretariat's recommendation: | Individual consideration |
| --- | --- |

PROJECT DESCRIPTION

Background

# On behalf of the Government of Morocco, UNIDO as the designated implementing agency has submitted a request for stage II of the HCFC phase-out management plan (HPMP), at the amount of US $1,450,000, plus agency support costs of US $108,750, as originally submitted. The implementation of stage II of the HPMP will phase out 24.59 ODP tonnes of HCFCs and assist Morocco in meeting the target of 67.5 per cent reduction in HCFC baseline consumption by 2025.

# Status of implementation of stage I of the HPMP

# Stage I of the HPMP for Morocco was originally approved at the 65th meeting to meet the 20 per cent reduction in 2017 from the baseline at a total cost of US $1,286,740, plus agency support costs to phase out 16.58 ODP tonnes of HCFCs used in rigid polyurethane (PU) foam manufacturing and in refrigeration and air-conditioning (RAC) servicing sectors. At the 83rd meeting, the HPMP was revised to meet the 35 per cent reduction from the consumption baseline by 2020 with no change in funding level. Stage I of the HPMP will be completed by 31 December 2021 as stipulated in the Agreement between the Government of Morocco and the Executive Committee.

HCFC consumption

- The Government of Morocco reported a consumption of 25.26 ODP tonnes of HCFC in 2020, which is 51 per cent below the HCFC baseline for compliance. The 2016-2020 HCFC consumption is shown in Table 1.

Table 1. HCFC consumption in Morocco (2016-2020 Article 7 data)

| HCFC | 2016 | 2017 | 2018 | 2019 | 2020 | Baseline |
| --- | --- | --- | --- | --- | --- | --- |
| Metric tonnes |  |  |  |  |  |  |
| HCFC-22 | 488.66 | 593.46 | 422.55 | 499.83 | 459.22 | 705.45 |
| HCFC-141b | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 114.09 |
| Total (mt) | 488.66 | 593.46 | 422.55 | 499.83 | 459.22 | 819.54 |
| HCFC-141b in imported pre-blended polyols* | 110.67 | 117.31 | 98.40 | 104.30 | 104.30 | 71.82 |
| ODP tonnes |  |  |  |  |  |  |
| HCFC-22 | 26.88 | 32.64 | 23.24 | 27.49 | 25.26 | 38.80 |
| HCFC-141b | 0.00 | 0.00 | 0.00 | 0.00 | 0.00 | 12.55 |
| Total (ODP tonnes) | 26.88 | 32.64 | 23.24 | 27.49 | 25.26 | 51.35 |
| HCFC-141b in imported pre-blended polyols* | 12.17 | 12.90 | 10.82 | 11.47 | 11.47 | 7.90 |

*Country programme (CP) data.

# The HCFC consumption has been decreasing due to the activities implemented under the HPMP, in particular, the phase-out of HCFC-141b through the conversion of one enterprise to cyclopentane supported by a ban on import of HCFC-141b in pure form; the enforcement of the licensing and quota system; and the import of non-HCFC-based RAC equipment into the country. The use of HCFC-141b contained in imported pre-blended polyols has shown an increase from the starting point for aggregate reduction; the reduction in 2020 was due to economic instability in the country and to the COVID-19 pandemic. The Government is proposing to address this use under stage II of the HPMP.

# CP implementation report

- The Government of Morocco reported HCFC sector consumption data under the 2020 CP implementation report consistent with the data reported under Article 7 of the Montreal Protocol.

Verification report

# The verification report confirmed that the Government is implementing a licensing and quota system for HCFC imports and exports and that the total consumption of HCFCs reported in the verification report is 25.26 ODP tonnes, which is 0.027 ODP tonnes more than the consumption reported under Article 7 of the Montreal Protocol for 2020; this consumption related to one enterprise (Ventec) was inadvertently omitted in the report under Article 7. The Government subsequently corrected the data reported under Article 7 (as reflected in Table 1 above). The verification concluded that Morocco was in compliance with the control targets in the Montreal Protocol and those in the Agreement with the Executive Committee.

# Status of progress and disbursement

# Regulations

# The country has been implementing the licensing and quota system to control the import of HCFCs. An electronic licensing system was launched in 2014 and implemented in 2015, and a ban on pure HCFC-141b was implemented on 1 January 2015 to sustain the phase-out in the foam manufacturing sector. Morocco is preparing to include HFCs in the licensing system under the Kigali Amendment. Ratification of the Kigali Amendment is currently in the last phase of the administrative and regulatory process.

# Phase-out of HCFC-141b in bulk in foam manufacturing

# The conversion of foam manufacturing at Manar Company to cyclopentane has been completed and 11 ODP tonnes of HCFC-141b have been eliminated. A further 2.1 ODP tonnes of HCFC-141b were phased out at Fagor, as the enterprise stopped its production.

# The use of HCFC-141b as cleaning agent for refrigeration circuits by the National Railroad of Morocco was also stopped, and replaced by R-407C and HFC-134a.

Servicing sector

# Stage I has been focusing on the phase-out of HCFC-141b used in the foam manufacturing sector which has all been completed. In addition, activities in the refrigeration servicing sector are progressing according to the revised plan as summarized below:

## One training session and one refresher training session were conducted for 13 trainers of customs officers (including three women), and one training session was conducted for nine customs agents (including one woman) in enforcing the licensing and quota system;

## Twenty-six refrigerant identifiers were procured and delivered to customs and the training institute (Institut Spécialisé du Génie Thermique et du Froid) and training was conducted for 20 customs officers on the use of refrigerant identifiers to support identification of HCFCs; and to support the Refrigeration Association in combating counterfeit refrigerants;

## One training session for 25 technicians in good servicing practices, new alternative technologies, safety issues and proper management of the flammability of refrigerants during maintenance has been planned in coordination with the Moroccan Refrigeration Association, and will be conducted once the restrictions on meetings and travel induced by COVID-19 are lifted as a physical training is needed to have the desired impact; and

## Training materials on the quality of refrigerants have been updated and translated into Arabic and French. Copies of the materials were provided to the Refrigeration Association for use in training. RAC servicing tools (e.g., portable charging machines, leak detectors, refrigerant recovery units) have been procured and delivered to the national ozone unit (NOU) and the Refrigeration Association.

# Level of fund disbursement

# Of the US $951,740 approved for Manar company for the phase-out of HCFC-141b in the foam manufacturing sector, US $949,159 was disbursed and US $2,581 was returned to the Fund.

# As of July 2021, of the US $335,000 approved so far for the servicing sector, US $316,886 had been disbursed (95 per cent). The remaining balance of US $18,114 will be disbursed in 2021 and 2022 for technician training.

Completion of stage I

# UNIDO reported that stage I of the HPMP for Morocco will be completed by 31 December 2021, in line with paragraph 14 of the Agreement between the Government and the Executive Committee.

Stage II of the HPMP

# Remaining consumption eligible for funding

- After deducting 26.51 ODP tonnes of HCFCs associated with stage I of the HPMP, the remaining consumption eligible for funding amounts to 41.28 ODP tonnes of HCFCs, consisting of 33.38 ODP tonnes of HCFC-22 and 7.9 ODP tonnes of HCFC-141b contained in imported pre-blended polyols. Of this amount, 24.59 ODP tonnes will be phased out in stage II. The remaining consumption of 16.69 ODP tonnes eligible for funding will be addressed in future stages of the HPMP.

# Sector distribution of HCFCs

- HCFC-22 is solely used in the servicing sector. There are approximately 665 workshops, and 14,000 formal and 2,800 unskilled technicians servicing residential and commercial air-conditioners, and refrigeration equipment in fisheries and industrial processes, as shown in Table 2.

# Table 2. Distribution of HCFC-22 in the servicing sector (2020)

| Application | No. of units | Unit charge (kg/unit) | Total installation (mt) | Leakage rates (%) | Servicing demand (mt) |
| --- | --- | --- | --- | --- | --- |
| Residential AC | 340,600 | 1.0 | 340.6 | 15 | 51.1 |
| Commercial AC | 2,000 | 7.5 | 15.0 | 10 | 1.5 |
| Commercial refrigeration | 253,200 | 5.0 | 1,266.0 | 20 | 253.2 |
| Industrial refrigeration | 2,920 | 250 | 730.5 | 20 | 146.1 |
| Chillers | 2,920 | 50 | 146.0 | 5 | 7.3 |
| Total |  |  | 2,498.1 | 18.3 | 459.2 |

- HCFC-22 represents 21 per cent of the refrigerants used in the servicing sector. Other refrigerants used include R-404A (42 per cent); HFC-134a (20 per cent); R-410A (5 per cent); R-290 (3 per cent); and other refrigerants R-600a, R-717, 407C and HFO-1234yf (8 per cent).

# Currently there are 10 small and medium-sized enterprises (SMEs) using an average of 65 mt of HCFC-141b contained in imported pre-blended polyols as shown in Table 3.

Table 3. Use of HCFC-141b contained in imported pre-blended polyols in the foam sector (mt/year)

| Enterprise | Application | HCFC-141b Consumption |  |  | Average 2018-2020 |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2018 | 2019 | 2020 |  |  |
| CF Loudaya | Commercial refrigeration | 1.58 | 1.58 | 1.58 | 1.58 |
| RMS Casablanca |  | 3.29 | 3.51 | 3.51 | 3.43 |
| RMS Tiznit |  | 3.07 | 3.29 | 3.42 | 3.26 |
| First Metal |  | 0.44 | 0.44 | 0.44 | 0.44 |
| Isolatherm Maroc | Sandwich panel | 1.73 | 3.07 | 3.29 | 2.69 |
| Indisol |  | 5.48 | 5.48 | 7.01 | 5.99 |
| MPI |  | 39.43 | 39.65 | 39.87 | 39.65 |
| Infrigo |  | 7.23 | 7.23 | 3.07 | 5.84 |
| Maroc Isothermique | Piping, spray, blocs | 1.64 | 1.64 | 1.75 | 1.68 |
| Siacmo |  | 0.44 | 0.44 | 0.44 | 0.44 |
| Total (mt) |  | 64.32 | 66.31 | 64.36 | 65.00 |
| Total (ODP tonnes) |  | 7.08 | 7.29 | 7.08 | 7.15 |

Phase-out strategy in stage II of the HPMP

- Stage II of the HPMP for Morocco proposes to meet the 67.5 per cent reduction of its HCFC consumption baseline by 2025; it will phase out the use of HCFC-141b contained in imported pre-blended polyols used by 10 SMEs and activities in the refrigeration servicing sector. The lessons learned and infrastructure established during the implementation of stage I of the HPMP will be utilized in stage II.

Proposed activities in stage II of the HPMP

Foam manufacturing sector

- Stage II includes an umbrella project to convert the 10 SMEs manufacturing rigid PU foam replacing the use of 64.36 mt of HCFC-141b contained in imported pre-blended polyols with pentane technology.

- The conversion includes foaming equipment for 10 enterprises; one pentane polyol blending station to guarantee the provision of raw material to the 10 SMEs; safety-related measures to use pentane pre-blended polyols; and technical assistance, installation, test, trial commissioning and training. The incremental operating cost is not requested, as it is calculated as savings of US $132 that will be used to offset the incremental cost of transporting flammable materials. The total project cost amounts to US $1,878,828, with a cost-effectiveness of US $28.91/kg, as shown in Table 4.

# Table 4. Incremental cost for phasing out HCFC-141b in imported pre-blended polyols in 10 enterprises

| Description | Unit cost (US $) | No. of units | Total cost (US $) |
| --- | --- | --- | --- |
| Foam equipment: compact pentane high-pressure dispenser (10); meters and piping system | 110,000 | 10 | 1,100,000 |
| One pentane/polyol blending station: pre-mixing equipment; buffer tank; drumming and packaging system; meters and piping system | 150,000 | 1 | 150,000 |
| Safety equipment: alarm systems including gas sensors and safety control panel; nitrogen system; and ventilation system | 33,000 | 11 | 330,000 |
| Technical assistance: design; installation, technology transfer and training; test, trials and commissioning | 128,025 | 1 | 128,025 |
| Contingencies |  |  | 170,803 |
| Total |  |  | 1,878,828 |

# Activities in the servicing sector

# Stage II proposes the following activities in the refrigeration sector that will phase-out 303.45 mt (16.69 ODP tonnes) of HCFC-22 at a total cost of US $1,450,000:

## Establishing a licensing system for HCFC-22-based equipment; introducing proper customs harmonization codes for HCFC-based equipment and training for customs officers (US $10,000);

  - Training of 12 trainers of customs officers in ozone-depleting substance (ODS) import control and the prevention of illegal trade; a refresher course will be held for 12 trainers in 2023 to ensure that the trainers retain their knowledge; and provision of five refrigerant identifiers (US $55,000);

## Establishing a mandatory code of practice for the RAC servicing sector; and applying the code of practice in the training and certification of technicians (US $30,000);

  - Provision of equipment and tools to eight training institutes (e.g., portable charging machines for flammable refrigerants, brazing kits, leak detector, recovery units, servicing tools) (US $300,000);

  - Training 150 trainers (10 sessions) and the trainers will in turn train 450 technicians in the informal sector (30 sessions) in good servicing practices; leakage reduction and refrigerant containment; refrigerant recovery, recycling and reuse; servicing equipment using flammable refrigerants (US $200,000);

  - Certification of technicians including establishing certification procedure and identifying organizations to perform certification; awareness-raising activities to technicians and end-users on mandatory certification of technicians; provision of training; examination of technicians and issuing certificates (US $230,000);

  - Implementing a refrigerant recovery, recycling and reclamation programme, including provision of equipment (e.g., one reclamation machine, 100 recovery and recycling machines, and cylinders), and training on the use of recovery, recycling and reclamation equipment (US $260,000);

  - Technical assistance to the fisheries sector, including a survey to identify end-users and their equipment; conducting a workshop to provide technical information to support transition of the fisheries sector to low-GWP alternatives (US $60,000);

  - Conducting a study to collect data on current roles and conditions of women in the RAC sector and to identify opportunities for improving gender equality (US $60,000); and

  - Awareness-raising and capacity-building activities to promote HCFC phase-out, and adoption of low-GWP technologies (US $125,000).

Project implementation and monitoring

- The system established under stage I of the HPMP will continue into stage II, where the NOU monitors the implementation of the activities, report on progress, and work with stakeholders. The cost of those activities amounts to US $120,000 with the following breakdown: international consultant US $60,000; travel US $20,000; coordination meetings with stakeholders on implementation: US $20,000; assistance with consumption verification: US $20,000.

Gender policy implementation

- In line with decision 84/92(d), preparation of stage II of the HPMP has taken into consideration the Multilateral Fund’s gender mainstreaming policy and has incorporated relevant indicators into the activities in stage II. A study will be conducted to collect data on current roles and conditions of women in the RAC sector and to identify opportunities for improving gender equality. Awareness-raising activities will be conducted on gender equality and opportunities and incentives will be provided to encourage women’s participation in training courses, the technician certification process, and consultation and decision-making processes. Disaggregated data on gender will be collected and reported.

# Total cost of stage II of the HPMP

# The total cost of stage II of the HPMP for Morocco has been estimated at US $3,328,828 (plus agency support costs), as originally submitted, for achieving 67.5 per cent reduction from its HCFC baseline consumption by 2025. It consists of US $1,878,828 for the phase-out of the use of 65.00 mt (7.17 ODP tonnes) of HCFC-141b contained in imported pre-blended polyols, and US $1,450,000 for the phase-out 303.45 mt (16.69 ODP tonnes) of HCFC-22 used in the refrigeration servicing sector.

Activities planned for the first tranche of stage II

- The first funding tranche of stage II of the HPMP at the total amount of US $2,758,696 will be implemented between November 2021 and November 2023 and will include the following activities:

## Implementing the umbrella project to convert 10 SMEs from HCFC-141b contained in imported pre-blended polyols to pentane technology (US $1,878,828);

## Establishing a licensing system for HCFC-22-based equipment, introducing proper customs harmonization codes for HCFC-based equipment and training for customs officers (US $10,000);

  - Training of 12 trainers of customs officers in ODS import control and the prevention of illegal trade; and the provision of five refrigerant identifiers (US $40,000);

## Establishing a mandatory code of practice for the RAC servicing sector; and applying the code of practice in the training and certification of technicians (US $30,000);

  - Provision of equipment and tools to eight training institutes (e.g., portable charging machines for flammable refrigerants, brazing kits, leak detector, recovery units, servicing tools) (US $300,000);

  - Training 150 trainers (10 sessions) and 225 technicians (15 sessions) in good servicing practices; leakage reduction and refrigerant containment; refrigerant recovery, recycling and reuse; and servicing equipment using flammable refrigerants (US $130,000);

  - Setting up certification procedure and identifying organizations to perform certification; awareness-raising activities on the mandatory certification of technicians (US $70,000);

  - Implementing a refrigerant recovery, recycling and reclamation programme: conducting a survey on the servicing sector in different regions and identifying a refrigerant storage facility as the location of the reclamation (US $45,000);

  - Technical assistance to the fisheries sector, including a survey to identify end-users and their equipment; conducting a workshop to provide technical information to support the transition of the fisheries sector to low-GWP alternatives (US $60,000);

  - Conducting a study to collect data on current roles and conditions of women in the RAC sector and to identify opportunities for improving gender equality (US $30,000);

  - Awareness-raising and capacity-building activities to promote HCFC phase-out, adoption of low-GWP technologies (US $85,000); and

  - Project coordination, implementation and reporting at the amount of US $20,000 with the following breakdown: international consultant US $5,000; travel US $5,000; information events: US $5,000; verification report: US $5,000.

SECRETARIAT’S COMMENTS AND RECOMMENDATION

COMMENTS

- The Secretariat reviewed stage II of the HPMP in light of stage I, the policies and guidelines of the Multilateral Fund, including the criteria for funding HCFC phase-out in the consumption sector for stage II of HPMPs (decision 74/50), and the 2021-2023 business plan of the Multilateral Fund.

Starting point for stage II, reduction and remaining eligible consumption for funding

- During the project review process, it was noted that the remaining consumption of HCFC-22 eligible for funding for Morocco after stage I was 33.38 ODP tonnes used in the refrigeration servicing sector; the reported 2018-2020 average consumption was 25.33 ODP tonnes; and the quota issued for 2021 was 21.31 ODP tonnes. It was also noted that the estimated servicing demand based on the number of RAC units installed in the country was similar to the consumption reported in 2020. Given these facts and after discussion with UNIDO, the Government of Morocco agreed to use 25.33 ODP tonnes of HCFC-22 plus 7.90 ODP tonnes of HCFC-141b contained in imported pre-blended polyols, as the starting point for aggregate reduction on HCFC consumption for stage II of the HPMP.

- The Government subsequently adjusted the reduction required to achieve the 67.5 per cent reduction in baseline consumption by 2025 from 16.69 ODP tonnes to 8.64 ODP tonnes of HCFC-22. The funding requested was accordingly adjusted from US $1,450,000 to US $754,032 (calculated at a cost effectiveness of US $4.80/kg), to phase out 8.64 ODP tonnes (157.09 mt) of HCFC-22.

Deferral of the foam umbrella project

# In reviewing the foam umbrella project, the Secretariat noted that only six of the 10 SMEs were eligible for funding as the other four enterprises were established after the 21 September 2007 cut-off date; in addition the cost effectiveness of the project (i.e., US $28.90/kg), significantly exceeded the cost threshold of US $10.96/kg, in line with decision 74/50.

# After extensive discussions, UNIDO requested to defer the project submission to a future meeting noting that the limited funding that would be available under decision 74/50 would not allow for the introduction of pentane technology due to the safety-related costs involved. A more cost-effective alternative technology needs to be identified and consultations with the beneficiary enterprises to seek their agreement will require more time. Accordingly, it was agreed that the foam umbrella project could be submitted to a later meeting, during the implementation of stage II of the HPMP. In line with this agreement, text to allow the submission of the foam umbrella project to completely phase out the HCFC-141b contained in imported pre-blended polyols in Morocco during the implementation of stage II, no later than the first meeting in 2024, has been included in Appendix 8-A of the Agreement.

Technical and cost-related issues

# With regard to the certification of technicians, UNIDO clarified that the programme will first focus on establishing a voluntary scheme for technicians who wish to obtain certification from a competent authority, mainly in the formal sector. Based on the results of the initial activities and the consultation with stakeholders, it is planned to make certification mandatory supported by regulation if conditions permit. Related measures, including allowing sales and distribution of refrigerants or the servicing for certain types of equipment to certified technicians only, the prohibition of venting during servicing, the establishment of predetermined leakage checks or record-keeping practices, will be discussed with stakeholders and implemented if market conditions are appropriate. All these activities will be implemented in stage II.

# Several issues were discussed during the project review. The funding request related to the study on gender issue was removed and the element was integrated into all other activities in stage II. With regard to the licensing system for HCFC-22-based equipment, the plan was to establish a tariff code for the import of all types of equipment based on HCFC-22; the complete ban on the imports of this equipment will be in future stages. The training of technicians and customs officers will be mainly conducted through training the trainers and supporting training institutions. The 53 existing educational institutions, which train approximately 3,000 technicians each year through various diploma programmes, will be utilized to conduct the training programmes. The training of trainers for these training institutions will facilitate the knowledge transfer to the majority of the technicians. The training of customs officers will also be realized through training the trainers who will in turn train the customs officers.

- Due to the reduction in the phase-out amount and the associated funding, the planned activities in stage II of the HPMP were subsequently adjusted: the development of the code of practices would be conducted by a national expert; the tool sets for training institutions were reduced from eight to six sets; the training sessions for trainers were reduced from 10 to two; the training of 450 technicians was maintained but each training session would only have one trainer; training prior to the certification process were removed; the number of recovery machines and cylinders were reduced from 100 to 50 sets and the reclamation machine and the operating costs were removed; only one refresher course will be conducted for the trainers of customs officers; the scope of the technical assistance for the fisheries sector and awareness raising activities were also adjusted. As a result, the adjusted costs for stage II of the HPMP amounts to US $754,032, as shown in Table 5.

# Table 5. Agreed costs and activities for stage II of the HPMP for Morocco

| Description | Cost (US $) |
| --- | --- |
| Establishing a licensing system for HCFC-22-based equipment | 10,000 |
| Developing a code of practice for the RAC servicing sector | 15,000 |
| Training of 12 trainers of customs officers in HCFC import control | 20,000 |
| Training of 30 trainers and 450 technicians in good servicing practices, leakage control, refrigerant recovery and servicing equipment using flammable refrigerants | 160,000 |
| Establishing procedures for the certification of technicians with support of regulation and certifying 30 technicians | 40,000 |
| Provision of equipment and tools to six training institutes for technician training | 224,032 |
| Implementing a recovery, recycling, and reclamation programme: establishing a reclamation center and provision of 50 recovery machines | 150,000 |
| Technical assistance to the fisheries sector including a survey to identify large end-users, a workshop to provide technical information to support the transition of the fisheries sector to low-GWP alternatives | 30,000 |
| Awareness-raising activities to promote HCFC phase-out and adoption of low-GWP alternatives | 10,000 |
| Project monitoring, coordination and reporting | 95,000 |
| Total | 754,032 |

- The first tranche of stage II of the HPMP was also adjusted to US $370,000, to be implemented between November 2021 and December 2023, and will include the following activities:

## Establishing a licensing system for HCFC-22-based equipment, introducing proper customs harmonization codes for HCFC-based equipment and training for customs officers (US $10,000);

## Establishing a mandatory code of practice for the RAC servicing sector; and applying the code of practice in the training and certification of technicians (US $15,000);

  - Conducting one refresher training course for 12 trainers of customs officers in ODS import control and the prevention of illegal trade; and provision of five refrigerant identifiers (US $10,000);

  - Training 30 trainers in good servicing practices; leakage reduction and refrigerant containment; refrigerant recovery, recycling and reuse; servicing equipment using flammable refrigerants (US $10,000);

  - Establishing procedures for the certification of technicians; identifying organizations to perform certification; conducting two workshops to raise awareness on the mandatory certification of technicians (US $20,000);

  - Provision of equipment and tools to six training institutes (e.g., portable charging machines for flammable refrigerants, brazing kits, leak detector, recovery units, servicing tools) (US $224,032);

  - Conducting a survey on the servicing workshops to plan the distribution of refrigerant recovery and recycling machines and identifying a refrigerant storage facility for the recovered unwanted refrigerants (US $5,000);

  - Conducting a survey on the fisheries sector to identify end-users and their equipment; preparing a sector summary report (US $30,000);

  - Awareness-raising and capacity-building activities to promote HCFC phase-out, adoption of low-GWP technologies (US $5,000); and

  - Project coordination, implementation and reporting at the amount of US $40,000 with the following breakdown: international consultant US $21,875; travel US $5,625; information events: US $5,000; verification report: US $7,500.

Impact on the climate

# The proposed activities in the servicing sector, which include better containment of refrigerants through training and the provision of equipment, will reduce the amount of HCFC-22 used for RAC servicing. Each kilogramme of HCFC-22 not emitted due to better refrigeration practices results in savings of approximately 1.8 CO2-equivalent tonnes. A calculation of the impact on the climate was provided in the HPMP. The activities planned by Morocco, including its efforts to promote low-GWP alternatives, as well as refrigerant recovery and reuse, indicate that the implementation of the HPMP will reduce the emission of refrigerants into the atmosphere, resulting in climate benefits.

# Co-financing

# The contribution of the Government of Morocco to the implementation of the HPMP will be in the form of in-kind contributions by providing meeting venues for coordination, and developing policy and regulations to support HPMP implementation. The Government will continue to explore opportunities for co-financing the HPMP.

# 2021-2023 draft business plan of the Multilateral Fund

# UNIDO is requesting US $754,032, plus agency support costs, for the implementation of stage II of the HPMP for Morocco. The total requested value of US $722,250, including agency support costs for the period from 2021–2023, is below the amount in the business plan.

# Draft Agreement

- A draft Agreement between the Government of Morocco and the Executive Committee for the phase-out of HCFCs in stage II of the HPMP is contained in Annex I to the present document.

# RECOMMENDATION

- The Executive Committee may wish to consider:

## Approving, in principle, stage II of the HCFC phase-out management plan (HPMP) for Morocco for the period from 2021 to 2025 to reduce HCFC consumption by 67.5 per cent of the country’s baseline, in the amount of US $754,032, plus agency support costs of US $52,782 for UNIDO;

  - Deducting 17.98 ODP tonnes of HCFCs that has been phased out after stage I was extended to 2020; and further deducting 8.64 ODP tonnes of HCFCs from the remaining HCFC consumption eligible for funding associated with stage II;

  - Approving the draft Agreement between the Government of Morocco and the Executive Committee for the reduction in consumption of HCFCs, in accordance with stage II of the HPMP, contained in Annex I to the present document;

  - Allowing submission of the foam umbrella project to completely phase out the HCFC-141b contained in imported pre-blended polyols in Morocco during the implementation of stage II of the HPMP, no later than the first meeting in 2024; and

  - Approving the first tranche of stage II of the HPMP for Morocco, and the corresponding tranche implementation plan, in the amount of US $370,000, plus agency support costs of US $25,900 for UNIDO.

Annex I

DRAFT AGREEMENT BETWEEN THE GOVERNMENT OF MOROCCO AND THE EXECUTIVE COMMITTEE OF THE MULTILATERAL FUND FOR THE REDUCTION IN CONSUMPTION OF HYDROCHLOROFLUOROCARBONS IN ACCORDANCE WITH STAGE II OF THE HCFC PHASE-OUT MANAGEMENT PLAN

Purpose

# This Agreement represents the understanding of the Government of Morocco (the “Country”) and the Executive Committee with respect to the reduction of controlled use of the ozone-depleting substances (ODS) set out in Appendix 1-A (“The Substances”) to a sustained level of 16.69 ODP tonnes by 1 January 2025 in compliance with Montreal Protocol schedule.

# The Country agrees to meet the annual consumption limits of the Substances as set out in row 1.2 of Appendix 2-A (“The Targets, and Funding”) in this Agreement as well as in the Montreal Protocol reduction schedule for all Substances mentioned in Appendix 1-A. The Country accepts that, by its acceptance of this Agreement and performance by the Executive Committee of its funding obligations described in paragraph 3, it is precluded from applying for or receiving further funding from the Multilateral Fund in respect to any consumption of the Substances that exceeds the level defined in row 1.2 of Appendix 2-A as the final reduction step under this Agreement for all of the Substances specified in Appendix 1-A, and in respect to any consumption of each of the Substances that exceeds the level defined in rows 4.1.3, 4.2.3 and 4.3.3 (remaining consumption eligible for funding).

# Subject to compliance by the Country with its obligations set out in this Agreement, the Executive Committee agrees, in principle, to provide the funding set out in row 3.1 of Appendix 2-A to the Country. The Executive Committee will, in principle, provide this funding at the Executive Committee meetings specified in Appendix 3-A (“Funding Approval Schedule”).

# The Country agrees to implement this Agreement in accordance with the stage II of the HCFC phase-out management plan (HPMP) approved (“the Plan”). In accordance with sub-paragraph 5(b) of this Agreement, the Country will accept independent verification of the achievement of the annual consumption limits of the Substances as set out in row 1.2 of Appendix 2-A of this Agreement. The aforementioned verification will be commissioned by the relevant bilateral or implementing agency.

Conditions for funding release

# The Executive Committee will only provide the Funding in accordance with the Funding Approval Schedule when the Country satisfies the following conditions at least eight weeks in advance of the applicable Executive Committee meeting set out in the Funding Approval Schedule:

## That the Country has met the Targets set out in row 1.2 of Appendix 2-A for all relevant years. Relevant years are all years since the year in which this Agreement was approved. Years for which there are no due country programme implementation reports at the date of the Executive Committee meeting at which the funding request is being presented are exempted;

## That the meeting of these Targets has been independently verified for all relevant years, unless the Executive Committee decided that such verification would not be required;

## That the Country had submitted a Tranche Implementation Report in the form of Appendix 4-A (“Format of Tranche Implementation Reports and Plans”) covering each previous calendar year; that it had achieved a significant level of implementation of activities initiated with previously approved tranches; and that the rate of disbursement of funding available from the previously approved tranche was more than 20 per cent; and

## That the Country has submitted a Tranche Implementation Plan in the form of Appendix 4-A covering each calendar year until and including the year for which the funding schedule foresees the submission of the next tranche or, in case of the final tranche, until completion of all activities foreseen.

Monitoring

# The Country will ensure that it conducts accurate monitoring of its activities under this Agreement. The institutions set out in Appendix 5-A (“Monitoring Institutions and Roles”) will monitor and report on implementation of the activities in the previous Tranche Implementation Plans in accordance with their roles and responsibilities set out in the same appendix.

Flexibility in the reallocation of funds

# The Executive Committee agrees that the Country may have the flexibility to reallocate part or all of the approved funds, according to the evolving circumstances to achieve the smoothest reduction of consumption and phase-out of the Substances specified in Appendix 1-A:

## Reallocations categorized as major changes must be documented in advance either in a Tranche Implementation Plan as foreseen in sub-paragraph 5(d) above, or as a revision to an existing Tranche Implementation Plan to be submitted eight weeks prior to any meeting of the Executive Committee, for its approval. Major changes would relate to:

### Issues potentially concerning the rules and policies of the Multilateral Fund;

### Changes which would modify any clause of this Agreement;

### Changes in the annual levels of funding allocated to individual bilateral or implementing agencies for the different tranches;

### Provision of funding for activities not included in the current endorsed Tranche Implementation Plan, or removal of an activity in the Tranche Implementation Plan, with a cost greater than 30 per cent of the total cost of the last approved tranche; and

### Changes in alternative technologies, on the understanding that any submission for such a request would identify the associated incremental costs, the potential impact to the climate, and any differences in ODP tonnes to be phased out if applicable, as well as confirm that the Country agrees that potential savings related to the change of technology would decrease the overall funding level under this Agreement accordingly;

## Reallocations not categorized as major changes may be incorporated in the approved Tranche Implementation Plan, under implementation at the time, and reported to the Executive Committee in the subsequent Tranche Implementation Report;

## Any enterprise to be converted to non-HCFC technology included in the Plan and that would be found to be ineligible under the policies of the Multilateral Fund (i.e., due to foreign ownership or establishment post the 21 September 2007 cut-off date), would not receive financial assistance. This information would be reported as part of the Tranche Implementation Plan;

## The Country commits to examining the possibility of using pre-blended systems with low-global warming potential blowing agents instead of blending them in-house, for those foam enterprises covered under the Plan, should this be technically viable, economically feasible and acceptable to the enterprises;

## The Country agrees, in cases where HFC technologies have been chosen as an alternative to HCFCs, and taking into account national circumstances related to health and safety: to monitor the availability of substitutes and alternatives that further minimize impacts on the climate; to consider, in the review of regulations standards and incentives adequate provisions that encourage introduction of such alternatives; and to consider the potential for adoption of cost-effective alternatives that minimize the climate impact in the implementation of the HPMP, as appropriate, and inform the Executive Committee on the progress accordingly in tranche implementation reports; and

## Any remaining funds held by the bilateral or implementing agencies or the Country under the Plan will be returned to the Multilateral Fund upon completion of the last tranche foreseen under this Agreement.

Considerations for the refrigeration servicing sector

# Specific attention will be paid to the execution of the activities in the refrigeration servicing sector included in the Plan, in particular:

## The Country would use the flexibility available under this Agreement to address specific needs that might arise during project implementation; and

## The Country and relevant bilateral and/or implementing agencies would take into consideration relevant decisions on the refrigeration servicing sector during the implementation of the Plan.

Bilateral and implementing agencies

# The Country agrees to assume overall responsibility for the management and implementation of this Agreement and of all activities undertaken by it or on its behalf to fulfil the obligations under this Agreement. UNIDO has agreed to be the lead implementing agency (the “Lead IA”) in respect of the Country’s activities under this Agreement. The Country agrees to evaluations, which might be carried out under the monitoring and evaluation work programmes of the Multilateral Fund or under the evaluation programme of the Lead IA taking part in this Agreement.

# The Lead IA will be responsible for ensuring co-ordinated planning, implementation and reporting of all activities under this Agreement, including but not limited to independent verification as per sub-paragraph 5(b). The role of the Lead IA is contained in Appendix 6-A. The Executive Committee agrees, in principle, to provide the Lead IA with the fees set out in row 2.2 of Appendix 2-A.

Non-compliance with the Agreement

# Should the Country, for any reason, not meet the Targets for the elimination of the Substances set out in row 1.2 of Appendix 2-A or otherwise does not comply with this Agreement, then the Country agrees that it will not be entitled to the Funding in accordance with the Funding Approval Schedule. At the discretion of the Executive Committee, funding will be reinstated according to a revised Funding Approval Schedule determined by the Executive Committee after the Country has demonstrated that it has satisfied all of its obligations that were due to be met prior to receipt of the next tranche of funding under the Funding Approval Schedule. The Country acknowledges that the Executive Committee may reduce the amount of the Funding by the amount set out in Appendix 7-A (“Reductions in Funding for Failure to Comply”) in respect of each ODP kg of reductions in consumption not achieved in any one year. The Executive Committee will discuss each specific case in which the Country did not comply with this Agreement, and take related decisions. Once decisions are taken, the specific case of non-compliance with this Agreement will not be an impediment for the provision of funding for future tranches as per paragraph 5 above.

# The Funding of this Agreement will not be modified on the basis of any future Executive Committee decisions that may affect the funding of any other consumption sector projects or any other related activities in the Country.

# The Country will comply with any reasonable request of the Executive Committee and the Lead IA to facilitate implementation of this Agreement. In particular, it will provide the Lead IA with access to the information necessary to verify compliance with this Agreement.

Date of completion

# The completion of the Plan and the associated Agreement will take place at the end of the year following the last year for which a maximum allowable total consumption level has been specified in Appendix 2-A. Should at that time there still be activities that are outstanding, and which were foreseen in the last Tranche Implementation Plan and its subsequent revisions as per sub-paragraph 5(d) and paragraph 7, the completion of the Plan will be delayed until the end of the year following the implementation of the remaining activities. The reporting requirements as per sub-paragraphs 1(a), 1(b), 1(d), and 1(e) of Appendix 4-A will continue until the time of the completion of the Plan unless otherwise specified by the Executive Committee.

Validity

# All of the conditions set out in this Agreement are undertaken solely within the context of the Montreal Protocol and as specified in this Agreement. All terms used in this Agreement have the meaning ascribed to them in the Montreal Protocol unless otherwise defined herein.

# This Agreement may be modified or terminated only by mutual written agreement of the Country and the Executive Committee of the Multilateral Fund.

# APPENDICES

# APPENDIX 1-A: THE SUBSTANCES

| Substance | Annex | Group | Starting point for aggregate reductions in consumption (ODP tonnes) |
| --- | --- | --- | --- |
| HCFC-22 | C | I | 45.88 |
| HCFC-141b | C | I | 14.01 |
| Sub-total |  |  | 59.89 |
| HCFC-141b contained in imported pre-blended polyols | C | I | 7.90 |
| Total | C | I | 67.79 |

# APPENDIX 2-A: THE TARGETS, AND FUNDING*

| Row | Particulars | 2021 | 2022 | 2023 | 2024 | 2025 | Total |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1.1 | Montreal Protocol reduction schedule of Annex C, Group I substances (ODP tonnes) | 33.38 | 33.38 | 33.38 | 33.38 | 16.69 | n/a |
| 1.2 | Maximum allowable total consumption of Annex C, Group I substances (ODP tonnes) | 33.38 | 25.33 | 25.33 | 25.33 | 16.69 | n/a |
| 2.1 | Lead IA (UNIDO) agreed funding (US $) | 370,000 |  | 305,000 |  | 79,032 | 754,032 |
| 2.2 | Support costs for Lead IA (US $) | 25,900 |  | 21,350 |  | 5,532 | 52,782 |
| 3.1 | Total agreed funding (US $) | 370,000 | 0 | 305,000 | 0 | 79,032 | 754,032 |
| 3.2 | Total support costs (US $) | 25,900 | 0 | 21,350 | 0 | 5,532 | 52,782 |
| 3.3 | Total agreed costs (US $) | 395,900 | 0 | 326,350 | 0 | 84,564 | 806,814 |
| 4.1.1 | Total phase-out of HCFC-22 agreed to be achieved under this Agreement (ODP tonnes) |  |  |  |  |  | 8.64 |
| 4.1.2 | Phase-out of HCFC-22 to be achieved in the previous stage (ODP tonnes) |  |  |  |  |  | 20.55** |
| 4.1.3 | Remaining eligible consumption for HCFC-22 (ODP tonnes) |  |  |  |  |  | 16.69 |
| 4.2.1 | Total phase-out of HCFC-141b agreed to be achieved under this Agreement (ODP tonnes) |  |  |  |  |  | 0.00 |
| 4.2.2 | Phase-out of HCFC-141b to be achieved in the previous stage (ODP tonnes) |  |  |  |  |  | 14.01 |
| 4.2.3 | Remaining eligible consumption for HCFC-141b (ODP tonnes) |  |  |  |  |  | 0.00 |
| 4.3.1 | Total phase-out of HCFC-141b contained in imported pre-blended polyols agreed to be achieved under this Agreement (ODP tonnes) |  |  |  |  |  | 0.00 |
| 4.3.2 | Phase-out of HCFC-141b contained in imported pre-blended polyols to be achieved in the previous stage (ODP tonnes) |  |  |  |  |  | 0.00 |
| 4.3.3 | Remaining eligible consumption for HCFC-141b contained in imported pre-blended polyols (ODP tonnes) |  |  |  |  |  | 7.90 |

# *Date of completion of stage I as per stage I Agreement: 31 December 2021.

# **Stage I was originally planned for 2017. At the 83rd meeting, stage I was extended from 2017 to 2020. Additional 17.98 ODP tonnes of phase-out was achieved after stage I was extended.

APPENDIX 3-A: FUNDING APPROVAL SCHEDULE

# Funding for the future tranches will be considered for approval at the first meeting of the year specified in Appendix 2-A.

APPENDIX 4-A: FORMAT OF TRANCHE IMPLEMENTATION REPORTS AND PLANS

# The submission of the Tranche Implementation Report and Plans for each tranche request will consist of five parts:

## A narrative report, with data provided by tranche, describing the progress achieved since the previous report, reflecting the situation of the Country in regard to phase out of the Substances, how the different activities contribute to it, and how they relate to each other. The report should include the amount of ODS phased out as a direct result from the implementation of activities, by substance, and the alternative technology used and the related phase-in of alternatives, to allow the Secretariat to provide to the Executive Committee information about the resulting change in climate relevant emissions. The report should further highlight successes, experiences, and challenges related to the different activities included in the Plan, reflecting any changes in the circumstances in the Country, and providing other relevant information. The report should also include information on and justification for any changes vis-à-vis the previously submitted Tranche Implementation Plan(s), such as delays, uses of the flexibility for reallocation of funds during implementation of a tranche, as provided for in paragraph 7 of this Agreement, or other changes;

## An independent verification report of the Plan results and the consumption of the Substances, as per sub-paragraph 5(b) of the Agreement. If not decided otherwise by the Executive Committee, such a verification has to be provided together with each tranche request and will have to provide verification of the consumption for all relevant years as specified in sub-paragraph 5(a) of the Agreement for which a verification report has not yet been acknowledged by the Committee;

## A written description of the activities to be undertaken during the period covered by the requested tranche, highlighting implementation milestones, the time of completion and the interdependence of the activities, and taking into account experiences made and progress achieved in the implementation of earlier tranches; the data in the plan will be provided by calendar year. The description should also include a reference to the overall Plan and progress achieved, as well as any possible changes to the overall Plan that are foreseen. The description should also specify and explain in detail such changes to the overall plan. This description of future activities can be submitted as a part of the same document as the narrative report under sub-paragraph (b) above;

## A set of quantitative information for all Tranche Implementation Reports and Plans, submitted through an online database; and

## An Executive Summary of about five paragraphs, summarizing the information of the above sub-paragraphs 1(a) to 1(d).

# In the event that in a particular year two stages of the HPMP are being implemented in parallel, the following considerations should be taken in preparing the Tranche Implementation Reports and Plans:

## The Tranche Implementation Reports and Plans referred to as part of this Agreement, will exclusively refer to activities and funds covered by this Agreement; and

## If the stages under implementation have different HCFC consumption targets under Appendix 2-A of each Agreement in a particular year, the lower HCFC consumption target will be used as reference for compliance with these Agreements and will be the basis for the independent verification.

APPENDIX 5-A: MONITORING INSTITUTIONS AND ROLES

# The implementation structure for the Plan implementation consists of the following entities:

## The National Ozone Committee (NOC) established for stage I of the HPMP will continue to function at the national level during the Plan implementation. The NOC will provide strategic direction, monitor activities and plan priorities during the implementation of the Plan. Members of the NOC include the Ministry of Environment, the Ministry of Trade and relevant ministries, the National Ozone Unit (NOU), Lead IA, Project Management Unit, industrial associations, training and awareness-building institutions; gender-related entities; and other stakeholders, if necessary;

## The NOU under the Ministry of Industry, Commerce, and Green and Digital Economy (MICEVN) will be responsible for coordinating national authorities, stakeholders and the Lead IA, monitoring activities and reporting on the progress achieved with the assistance of the Lead IA and in accordance with the Agreement; and

## UNIDO as the Lead IA for the implementation of the Plan is responsible for implementing the agreed activities, verifying consumption targets and reporting on progress and achievements to the Executive Committee in accordance with the Agreement.

APPENDIX 6-A: ROLE OF THE LEAD IMPLEMENTING AGENCY

# The Lead IA will be responsible for a range of activities, including at least the following:

## Ensuring performance and financial verification in accordance with this Agreement and with its specific internal procedures and requirements as set out in the Country’s HPMP;

## Assisting the Country in preparation of the Tranche Implementation Reports and Plans as per Appendix 4-A;

## Providing independent verification to the Executive Committee that the Targets have been met and associated tranche activities have been completed as indicated in the Tranche Implementation Plan consistent with Appendix 4-A;

## Ensuring that the experiences and progress is reflected in updates of the overall plan and in future Tranche Implementation Plans consistent with sub-paragraphs 1(c) and 1(d) of Appendix 4-A;

## Fulfilling the reporting requirements for the Tranche Implementation Reports and Plans and the overall plan as specified in Appendix 4-A for submission to the Executive Committee;

## In the event that the last funding tranche is requested one or more years prior to the last year for which a consumption target had been established, annual tranche implementation reports and, where applicable, verification reports on the current stage of the Plan should be submitted until all activities foreseen had been completed and HCFC consumption targets had been met;

## Ensuring that appropriate independent technical experts carry out the technical reviews;

## Carrying out required supervision missions;

## Ensuring the presence of an operating mechanism to allow effective, transparent implementation of the Tranche Implementation Plan and accurate data reporting;

## In case of reductions in funding for failure to comply in accordance with paragraph 11 of the Agreement, to determine, in consultation with the Country, the allocation of the reductions to the different budget items and to the funding of the Lead IA;

## Ensuring that disbursements made to the Country are based on the use of the indicators;

## Providing assistance with policy, management and technical support when required; and

## Timely releasing funds to the Country/participating enterprises for completing the activities related to the project.

# After consultation with the Country and taking into account any views expressed, the Lead IA will select and mandate an independent entity to carry out the verification of the HPMP results and the consumption of the Substances mentioned in Appendix 1-A, as per sub-paragraph 5(b) of the Agreement and sub-paragraph 1(b) of Appendix 4-A.

APPENDIX 7-A: REDUCTIONS IN FUNDING FOR FAILURE TO COMPLY

# In accordance with paragraph 11 of the Agreement, the amount of funding provided may be reduced by US $175 per ODP kg of consumption beyond the level defined in row 1.2 of Appendix 2-A for each year in which the target specified in row 1.2 of Appendix 2-A has not been met, on the understanding that the maximum funding reduction would not exceed the funding level of the tranche being requested. Additional measures might be considered in cases where non-compliance extends for two consecutive years.

# In the event that the penalty needs to be applied for a year in which there are two Agreements in force (two stages of the HPMP being implemented in parallel) with different penalty levels, the application of the penalty will be determined on a case-by-case basis taking into consideration the specific sectors that lead to the non-compliance. If it is not possible to determine a sector, or both stages are addressing the same sector, the penalty level to be applied would be the largest.

APPENDIX 8-A: SECTOR SPECIFIC ARRANGEMENTS

# Submission of the foam umbrella project to completely phase out the HCFC-141b contained in imported pre-blended polyols in Morocco is allowed during the implementation of stage II of the HPMP, no later than the first meeting in 2024.

Online meetings and an intersessional approval process will be held in November and December 2021 due to coronavirus disease (COVID-19).

As per the letter of 23 July 2021 from the Ministry of Industry, Commerce, and Green and Digital Economy of Morocco to UNIDO.

UNEP/OzL.Pro/ExCom/65/42 and Annex XXVIII of UNEP/OzL.Pro/ExCom/65/60.

UNEP/OzL.Pro/ExCom/83/32 and Annex X of UNEP/OzL.Pro/ExCom/83/48, and UNEP/OzL.Pro/ExCom/83/48/Corr.3.

Decision 84/92(d) requested bilateral and implementing agencies to apply the operational policy on gender mainstreaming throughout the project cycle.

For SMES where the replacement technology is based on a low-GWP blowing agent.