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Corrigendum

REPORT ON THE LOCAL INSTALLATION AND ASSEMBLY SUBSECTOR, INCLUDING TYPES OF EQUIPMENT AND REFRIGERANTS AND CHALLENGES IN TRANSITIONING TO LOW-GLOBAL-WARMING-POTENTIAL ALTERNATIVES (decision 91/39(b))

This document is issued to:

· Replace the row for Large AC systems in table 1 as follows:
	Large AC systems 
	Packaged rooftop systems**
	12-200
	· R-134a
· R-407C
· R-410A
· HCFC-22
	· R-32
· HFC blends (e.g., R-452B, R-454B, R-513A)
· HFO blends (e.g., R-450A, R-451A, R-451B)






	
	
	
	
	



Pre-session documents of the Executive Committee of the Multilateral Fund for the Implementation of the Montreal Protocol are without prejudice to any decision that the Executive Committee might take following issuance of the document.
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