| UNITED NATIONS |  | EP |
| --- | --- | --- |
|  | United Nations Environment Programme | Distr. GENERAL UNEP/OzL.Pro/ExCom/92/49/Corr.1 10 May 2023 ORIGINAL: ENGLISH |

EXECUTIVE COMMITTEE OF
  THE MULTILATERAL FUND FOR THE
  IMPLEMENTATION OF THE MONTREAL PROTOCOL
Ninety-second Meeting

Montreal, 29 May to 2 June 2023

Item 11(c) of the provisional agenda

Corrigendum

REPORT ON THE LOCAL INSTALLATION AND ASSEMBLY SUBSECTOR, INCLUDING TYPES OF EQUIPMENT AND REFRIGERANTS AND CHALLENGES IN TRANSITIONING TO LOW-GLOBAL-WARMING-POTENTIAL ALTERNATIVES (decision 91/39(b))

This document is issued to:

# Replace the row for Large AC systems in table 1 as follows:

| Large AC systems | Packaged rooftop systems** | 12-200 | - R-134a - R-407C - R-410A - HCFC-22 | - R-32 - HFC blends (e.g., R-452B, R-454B, R-513A) - HFO blends (e.g., R-450A, R-451A, R-451B) |
| --- | --- | --- | --- | --- |

UNEP/OzL.Pro/ExCom/92/1